## CostX
Exterior Wall Finish
External Wall Finishes
Code | Description | Quantity | UOM | Rate | SubTotal | Factor | Total | Total
MASONRY
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| REFERENCES |  | Head1
Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Square cutting and waste |  | Note
| Forming all openings, machine cutting, cutting to form bond, cutting to form chases for edges of floor slabs |  | Note
| Forming reveals including pointing and cleaning down |  | Note
| Plumbing reveals and angles |  | Note
| Building in of frames, flashings, dampproof course, ties, lintels, structural steel framework and the like |  | Note
| Raking out joints for applied finishes |  | Note
| Keeping cavities clear of mortar droppings |  | Note
| Forming weepholes |  | Note
| Using solid blocks where core holes would otherwise be visible or where required for fire rating |  | Note
| Using matching half-blocks, closers, lintel and bond beam blocks as required |  | Note
| Building in or cutting holes for pipes, handrails, cramps, steel ties sections and the like |  | Note
| Making good and protecting finished surfaces |  | Note
| Cleaning down |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for providing brick and mortar samples | 1 | Item
| Allow for building sample panels | 1 | Item
| Allow for testing | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for data submissions | 1 | Item
| Allow for storing and protecting bricks | 1 | Item
| Allow for warranties | 1 | Item
| Allow for attending on and making good after all other trades, cutting out, forming all chases, grooves and holes building in all pipes, sleeves, anchor, bolts, lugs, fixings etc as required, replacing defective bricks, pointing up all faulty joints, holes and dressing and making good damaged or defective work | 1 | Item
| NOTES AND ASSUMPTIONS |  | Head1
| There were no assumptions for the " XXXXXX " trade, documents were sufficient to cover the entire scope. |  | Note
Assumption
| BRICKWORK TO EXTERNAL WALLS |  | Head1
| External Brickwall up to 3.0m high |  | Head2
| BRK-01 Brickwork |  | Head3
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| BRK-02 Brickwork |  | Head3
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| External Brickwall 3.01 to 4.0m high |  | Head2
| BRK-01 Brickwork |  | Head3
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| BRK-02 Brickwork |  | Head3
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| TOTAL Masonry |  |  |  | 0
RENDERING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| REFERENCES |  | Head1
Head2
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Cutting including raking and circular cutting and waste |  | Note
| Making good around pipes and the like |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for co-operating with, attending on and making good after all other trades as necessary | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for cleaning on completion | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for data submissions | 1 | Item
| Allow for warranties | 1 | Item
| Allow for contractor's submissions | 1 | Item
| NOTES AND ASSUMPTIONS |  | Head1
| There were no assumptions for the " XXXXXX " trade, documents were sufficient to cover the entire scope. |  | Note
Assumption
| RENDERING TO EXTERNAL WALLS |  | Head1
| RN-01 Renders |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| RN-02 Renders |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| TOTAL Rendering |  |  |  | 0
CLADDING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| REFERENCES |  | Head1
Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Laps, square or raking cutting and waste |  | Note
| Fixing in position with all necessary templates, blocking, nails, screws, plugs etc |  | Note
| Cutting and making good around pipes and the like |  | Note
| Environmental and sustainable requirements detailed in the specification |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for co-operating with, attending on and making good after all other trades as necessary | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for cleaning on completion | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for data submissions | 1 | Item
| Allow for warranties | 1 | Item
| Allow for contractor's submissions | 1 | Item
| NOTES AND ASSUMPTIONS |  | Head1
| There were no assumptions for the " XXXXXX " trade, documents were sufficient to cover the entire scope. |  | Note
Assumption
| CLADDING TO EXTERNAL WALLS |  | Head1
| MC-01 Metal Cladding |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| MC-02 Metal Cladding |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| CFC1 |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| CFC2 |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| TOTAL Cladding |  |  |  | 0
TILING/STONE
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| REFERENCES |  | Head1
Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Temporary rules, temporary grounds, temporary screeds and the like |  | Note
| Cutting and making good around pipes, sanitary fittings, floor wastes and the like |  | Note
| All normal bedding and pointing materials, adhesives and the like |  | Note
| Standard glazed edge tiles |  | Note
| Salient and re-entrant corners including trims if required by the documents |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for attending on and making good after all other trades, cutting out and making good defective work | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for laying sample panel | 1 | Item
| Allow for submitting samples | 1 | Item
| Allow for cleaning and polishing on completion | 1 | Item
| Allow for grouted and caulked joints | 1 | Item
| Allow for spare tiles | 1 | Item
| Allow for preparation of substrate | 1 | Item
| Allow for warranties | 1 | Item
| NOTES AND ASSUMPTIONS |  | Head1
| There were no assumptions for the " XXXXXX " trade, documents were sufficient to cover the entire scope. |  | Note
Assumption
| TILING TO EXTERNAL WALLS |  | Head1
| TL-01 Tilings |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| TL-02 Tilings |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| STONE TO EXTERNAL WALLS |  | Head1
| ST-01 Stone |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| ST-02 Stone |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| TOTAL Tiling/Stone |  |  |  | 0
PAINTING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| REFERENCES |  | Head1
Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Provision, erection and removal of scaffolding |  | Note
| Preparation of surfaces |  | Note
| Rubbing between coats and the like |  | Note
| Back priming of dressed timber where required |  | Note
| Protection and masking of floors, fittings and the like |  | Note
| Removing and replacing door and window furniture |  | Note
| Removing splash and spray marks |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for providing samples | 1 | Item
| Allow for all testing | 1 | Item
| Allow for obtaining manufacturer's certificates | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for cleaning on completion | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for covering and protecting surfaces from building operations | 1 | Item
| Allow for warranties | 1 | Item
| NOTES AND ASSUMPTIONS |  | Head1
| There were no assumptions for the " XXXXXX " trade, documents were sufficient to cover the entire scope. |  | Note
Assumption
| PAINTING TO EXTERNAL WALLS |  | Head1
| PT-01 Painting |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| PT-02 Painting |  | Head2
| Ground Level (DWG ## Rev #) |  | m2
| Level 1 (DWG ## Rev #) |  | m2
| TOTAL Painting |  |  |  | 0
TOTAL FOR BUILDING