## CostX
Metal Works
Metal Works
Code | Description | Quantity | UOM | Rate | SubTotal | Factor | Total | Total
METALWORK
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| REFERENCES |  | Head1
| ****** |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| All shop fabrication work including cutting, notching, milling, machining, drilling, slotted holes, bolting, riveting, welding, grinding and incidental labours |  | Note
| Marking, delivery, unloading, hoisting, erecting and fixing |  | Note
| Cutting to dead lengths and machining ends and bearings |  | Note
| Touching up surface treatment where damaged |  | Note
| Bolts including nuts and washers |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| The contractor to ensure the Environmentally Sustainable Design (ESD) strategies are incorporated, and an equivalent 5 Star Green Star is achieved in line with HI Design Guidance Note (DGN) No.058 - ESD Evaluation Tool |  | Note
| GENERAL ITEMS |  | Head1
| Allow for preparation of shop drawings | 1 | Item
| Allow for providing samples of materials or finishes as required | 1 | Item
| Allow for tests | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for warranties | 1 | Item
| NOTES AND ASSUMPTIONS |  | Head1
| Handrail and Balustrade measured flat on plans |  | Note
| BALUSTRADE |  | Head1
| BAL2 - 712mm high framed glass balustrade fixed to off-form concrete upstand. (NB: concrete upstand measured in concrete trade) |  | Head2
| Level 1 (A-110-010-08) | 0 | m
| Level 2 (A-110-020-08) | 0 | m
| BAL2A - 712mm high framed glass balustrade fixed to off-form concrete upstand. (NB: No details provided, assumed details to be the same as BAL2, concrete upstand measured in concrete trade) |  | Head2
| Level 2 (A-110-020-08) | 0 | m
| Level 3 (A-110-030-09) | 0 | m
| BAL6 - 635mm high framed glass balustrade and aluminium extrusion on face brick and off-form concrete upstand. (NB: concrete upstand and face brick measured in separate trade) |  | Head2
| Level 2 (A-110-020-08) | 0 | m
| BAL7A - 682mm high framed glass balustrade fixed to face brick and off-form concrete upstand. (NB: concrete upstand and face brick measured in separate trade) |  | Head2
| Level 1 (A-110-010-08) | 0 | m
| Level 2 (A-110-020-08) | 0 | m
| BAL8 - 690mm high framed glass balustrade fixed to off-form concrete upstand. (NB: concrete upstand measured in concrete trade) |  | Head2
| Level 1 (A-110-010-08) | 0 | m
| Level 2 (A-110-020-08) | 0 | m
| BOLLARD |  | Head1
| BL1 - 75mm diameter x 900mm high steel yellow bollards with 3mm wall thickness (round base plate and black plastic cap). Supplier: Area Safe |  | Head2
| Basement 1 (A-110-007-12) | 0 | no
| FENCE |  | Head1
| FEN1 - 70 x 10 mm aluminium hollow section, black rivet fixing to all vertical posts, aluminium sheet panels, 70x20mm aluminium flat bar, flat bar to be cored into black wall. Perforated sheet to fold into joint. (NB: FEN1 gates measured separately. Refer to A-655-001-01 for details) |  | Head2
| Ground Level (A-110-008-09) | 0 | m2
| FEN1 Gate - 70 x 10 mm aluminium hollow section, black rivet fixing to all vertical posts, aluminium sheet panels, 70x20mm aluminium flat bar, flat bar to be cored into black wall. Perforated sheet to fold into joint. |  | Head2
| Ground Level (A-110-008-09) | 0 | m2
| GRATED AND LINEAR DRAINS |  | Head1
| GDR1 - Grated Drain, Type 1, ACO Drain Stainless Wedgewire Heelsafe Anti Slip Type 447D, Finish: Grade 304 stainless, Supplier: ACO Drains |  | Head2
| Ground Level (A-110-008-09) | 0 | m
| LDR1 - Linear Drain, Type 1 (NB: No details provided) |  | Head2
| Ground Level (A-110-008-09) | 0 | m
| HANDRAILS |  | Head1
| HR1 - 42mm OD CHS continuous steel balustrade and handrail system to fire stairs. Provide fully welded system including closed end caps. Material: Mild steel, Colour: Galvanised |  | Head2
| Basement 1 (A-110-007-12) | 0 | m
| Level 1 (A-110-010-08) | 0 | m
| Fire Stair 01 (A-441-001-4) | 0 | m
| Fire Stair 02 (A-441-001-4) | 0 | m
| Fire Stair 03 (A-441-002-4) | 0 | m
| Fire Stair 04 (A-441-002-4) | 0 | m
| HR2 - 42mm OD CHS continuous steel balustrade and handrail system to fire stairs. Provide fully welded system including closed end caps. Material: Mild steel, Colour: Galvanised |  | Head2
| Fire Stair 01 (A-441-001-4) | 0 | m
| Fire Stair 05 (A-441-001-4) | 0 | m
| Fire Stair 06 (A-441-002-4) | 0 | m
| HR3 - 35mm diameter handrails to external stairs and ramps where handrail extensions are required. Material: Stainless Steel, Colour: Stainless Steel |  | Head2
| Ground Level (A-110-008-09) | 0 | m
| HR4 - flat bar handrails to external private stairs. Material: Mild Steel, Colour: PCF1- Black Poder Coat Matt Finish Code: 90088702 |  | Head2
| Ground Level (A-110-008-09) | 0 | m
| LOUVRE |  | Head1
| LV1 - Metal louvre as part of overall facade system, Finish: Powder coated, Colour: Black, Code: 90088702 (NB: No further details provided) |  | Head2
| Ground Level (A-110-008-09) | 0 | m2
| LV2 - Metal louvre for carpark air intake, 3.9x1 meters (2.5m2 FA), Finish: Powder coated, Colour: to match Dulux Mole Grey |  | Head2
| Ground Level (A-110-008-09) | 0 | m
| SCREENS |  | Head1
| 800mm long x 300mm deep x 2200mm high SCN1A, aluminium shroud integral to whole perimeter of window. Fixed to window in face brick wall. Finish: Powdercoated aluminium, Colour: PCF1- Matt Finish Black, Code: 90088702 (Total length of screen 0.8+2.2+0.8+2.2 - 6.00m) |  | Head2
| Level 4 (A-110-040-09) | 0 | no
| Level 5 (A-110-050-08) | 0 | no
| 1095mm long x 300mm deep x 2200mm high SCN1A, aluminium shroud integral to whole perimeter of window. Fixed to window in face brick wall. Finish: Powdercoated aluminium, Colour: PCF1- Matt Finish Black, Code: 90088702 (Total length of screen 1.095+2.2+1.095+2.2 - 6.59m) |  | Head2
| Level 1 (A-110-010-08) | 0 | no
| 1095mm long x 300mm deep x 2200mm high SCN1C, powdercoated aluminium black box to whole perimeter of window. (Total length of screen 1.095+2.2+1.095+2.2 - 6.59m) |  | Head2
| Level 2 (A-110-020-08) | 0 | no
| Level 3 (A-110-030-09) | 0 | no
| 1800mm long x 350mm deep x 2200mm high SCN3A to whole perimeter of window. (Total length of screen 1.8+2.2+1.8+2.2 - 8.00m) (NB: No details provided) |  | Head2
| Level 5 (A-110-050-08) | 0 | no
| Level 6 (A-110-060-08) | 0 | no
| 2025mm long x 300mm deep x 2200mm high SCN1A, aluminium shroud integral to whole perimeter of window. Fixed to window in face brick wall. Finish: Powdercoated aluminium, Colour: PCF1- Matt Finish Black, Code: 90088702 (Total length of screen 2.025+2.2+2.025+2.2 - 8.45m) |  | Head2
| Level 6 (A-110-060-08) | 0 | no
| Level 7 (A-110-070-08) | 0 | no
| 2655mm long x 350mm deep x 2200mm high SCN3A to whole perimeter of window (Total length of screen 2.655+2.2+2.655+2.2 - 9.71m) (NB: No details provided) |  | Head2
| Level 2 (A-110-020-08) | 0 | no
| Level 3 (A-110-030-09) | 0 | no
| 3185mm long x 350mm deep x 2200mm high SCN3, folded perforated anodised aluminium screen sliding, fixed to frames to whole perimeter window. Finish: Powdercoated aluminium, Colour: PCF2 - Burnished Copper Flat finish, Code: 9068185K (Total length of screen 3.185+2.2+3.185+2.2 - 10.77m) |  | Head2
| Level 5 (A-110-050-08) | 0 | no
| Level 6 (A-110-060-08) | 0 | no
| 4940mm (total length) x 1000mm high SCN5, aluminium frame and fixed louvres, Finish: Powdercoated aluminium, Colour: PCF2 - Burnished Copper Flat finish, Code: 9068185K |  | Head2
| Level 4 (A-110-040-09) | 0 | no
| SHADING |  | Head1
| SD1B - Shading Type 1B, Material: Mild Steel and Aluminium, Colour: PF1 - Natural White, Code: SW1F4 and PCF1- Matt Finish Black, Code: 90088702 |  | Head2
| Level 4 (A-110-040-09) | 0 | m2
| SD2 - Glass and aluminium horizontal fixed pergola. Material: Mild Steel and Aluminium, Colour: PCF1- Matt Finish Black, Code: 90088702 |  | Head2
| Level 4 (A-110-040-09) | 0 | m2
| Roof Level (A-110-100-08) | 0 | m2
| STORAGE CAGES |  | Head1
| F1 - Galvanize wire mesh storage cages with tubular frame with 9 gates |  | Head2
| Basement 1 (A-110-007-12) |  | m2
| FLOOD BARRIER |  | Head1
| FB1 - Proprietary flood barrier |  | Head2
| Basement 1 (A-110-007-12) |  | no
| SUNDRIES |  | Head1
| BKR1 - Bolt down bicycle rail with 200 x 100 x 6mm base plate (masonry anchors included on base plate models) and plastic sleeve protection. Code: BR11B (Standard 1 Bike Rail), Material: Steel, plastic sleeve. Finish: Stainless steel black sleeve. Material: SecuraBike |  | Head2
| Basement 1 (A-110-007-12) | 0 | no
| Ground Level (A-110-008-09) | 0 | no
| FW - Floor waste (NB: No details provided) |  | Head2
| Basement 1 (A-110-007-12) | 0 | no
| HC - Hose cock, Internal: Brass chrome plated finish including escutcheon, External: Brass, natural. |  | Head2
| Basement 1 (A-110-007-12) | 0 | no
| RAL - Roof Access Ladder with handrails in accordance to AS 1657 with perimeter mesh fence behind. Refer to A-441-001-4 and A-441-002-4. |  | Head2
| Roof Level (A-110-100-08) | 0 | m
| BKS1 - Bicycle Storage Type 1, Cora Bike Rack E3DT CBR Rack Series (NB: Marked as SC inside bike storages at basement 01 level plan) |  | Head2
| Basement 1 (A-110-007-12) | 0 | no
| TOTAL Metalwork |  |  |  | 0
VERTICAL TRANSPORTATION/LIFT SERVICES
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Plant, equipment, commissioning, testing, wiring, connections and ancillary items |  | Note
| Complying with all statutory regulations |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for costs of complying with statutory regulations | 1 | Item
| Allow for paying all fees, inspections and the like | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Vertical Transportation/Lift Services |  |  |  | 0
TOTAL FOR BUILDING