## CostX
Civil Works
Site Preparation, Civil, Earthworks and Demolition
Code | Description | Quantity | UOM | Rate | SubTotal | Factor | Total | Total
SITE PREPARATION AND EARTHWORKS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| REFERENCE |  | Head1
| Refer to Document "XXX" Geotecnhical Report for Soil Description at site |  | Note
| Refer to Dwg. No. Survey Plan for Ground Elevation at site |  | Note
| Refer to Document "XXX" for contamination report |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Getting out, levelling, grading, trimming and forming batters |  | Note
| Keeping sides plumb and to shape |  | Note
| Scabbling faces of excavation as required |  | Note
| Backfilling, ramming solid |  | Note
| Processing excavated materials suitable for reuse as fill |  | Note
| Loading and disposal of surplus spoil |  | Note
| Importing fill where required |  | Note
| All double handling required |  | Note
| All costs associated with forming and maintaining stripped material stockpiles |  | Note
| Tip fees |  | Note
| The Contractor is deemed to have included for material as found |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for providing samples | 1 | Item
| Allow for testing | 1 | Item
| Allow for contractors submissions | 1 | Item
| Allow for inspection of site | 1 | Item
| Allow for complying with relevant Acts, By-laws and regulations relating to excavation, planking and strutting | 1 | Item
| Allow for all costs associated with meeting local authority requirements and obtaining approvals | 1 | Item
| Allow for locating and marking all existing services including disconnection of redundant services not otherwise allowed for and protection of services to be retained | 1 | Item
| Allow for a dilapidation survey if required, monitoring of existing buildings, pavements and structures close to work areas, controlling possible damage and making good damage on completion | 1 | Item
| Allow for keeping excavations free from rain and percolating water by pumping, bailing and other means | 1 | Item
| Allow for provision and removal of temporary fencing, hoardings warning notices and the like | 1 | Item
| Allow for traffic management measures | 1 | Item
| Allow for any shoring, planking and strutting deemed necessary to retain sides of excavations but not measured following | 1 | Item
| Allow for benching prior to bulk fill on surfaces exceeding 1:4 slope | 1 | Item
| Allow for any working space excavations deemed necessary but not measured following | 1 | Item
| Allow for any safety covers over holes and other OH&S requirements | 1 | Item
| Allow for geotechnical investigations, monitoring and reports | 1 | Item
| NOTES AND ASSUMPTIONS |  | Head1
| Contractor to determine suitability of existing soil to be used as fiil |  | Note
| No working area were considered for detailed excavation |  | Note
| Earthwork quantities have been calculated on AGTEK 3D Software. Refer to images provided for reference. |  | Note
| Cut and Fill volume represent difference between existing surface level and subgrade level. They exclude localized excavation for footings, lift pit, retaining wall, etc |  | Note
| Structure thickness were considered for the following. Building slab = 250mm, Footpath pavement = 220mm, Landscape = 300mm |  | Note
| SITE CLEARANCE |  | Head1
| Removal of Water | 1 | Item
| Site restoration works to make good areas of site or outside site boundary to existing condition after completion of works if required | 1 | Item
| Site Clearing and Grubbing |  | m2
| Stripping of top soil (indicate depth in mm) |  | m3
| EROSION AND SEDIMENT CONTROL |  | Head1
| Sediment Fence - "description" (NB: refer detail to Dwg#) |  | m
| Geotextile Inlet Filter - "description" (NB: refer detail to Dwg#) |  | no
| Straw Bale Filter - "description" (NB: refer detail to Dwg#) |  | no
| Sandbag Inlet Trap - "description" (NB: refer detail to Dwg#) |  | no
| Stabilized Site Access - "description" (NB: refer detail to Dwg#) (Minimum 15000x3000mm if area on plan is less than 45m2 just count it as 1 item) |  | no
| Temporary Stockpile - "description" (NB: refer detail to Dwg#) |  | no
| Drainage swale - "description" (NB: refer detail to Dwg#) |  | m
| Grass Swale - "description" (NB: refer detail to Dwg#) |  | m
| Temporary Fence - "description" (NB: refer detail to Dwg#) |  | m
| SITE PREPARATION |  | Head1
Trim and Compact
| Trim and compact building pads to level, carpark and roads to final level allowing for falls and cross falls |  | m2
| CUT AND FILL |  | Head1
| Bulk excavation over site to reduced level at elev. xxxm |  | m3
| Selected fill won from site (usually the cut volume) |  | m3
| Imported fill (remaining volume of fill in excess of quantity covered by cut) |  | m3
| DISPOSAL |  | Head1
| Disposal of cut soil |  | m3
| Disposal of stripped soil |  | m3
| DETAILED EXCAVATION ( Pick up at Structrural and other Trade) |  | Head1
| Footing |  | Head2
| Detailed excavation to strip footing |  | m3
| Detailed excavation to pad footing |  | m3
| Detailed excavation to ground beam |  | m3
| Lift Pit |  | Head2
| Detailed excavation to lift pit |  | m3
| Tanks |  | Head2
| Detailed excavation to on-site detention tank |  | m3
| FINAL SITE PREPARATION |  | Head1
| Trim and Compact |  | Head2
| Trim and compact building pads to level, carpark and roads to final level allowing for falls and cross falls |  | m2
| Basecourse |  | Head2
| Provide xxxmm thick "basecourse description" or approved equivalent over compacted subgrade "ie 3% CBR" to concrete SOG area (can obtain from concrete trade |  | m3
| TOTAL Site Preparation and Earthworks |  |  |  | 0
CIVIL WORKS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings. |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| REFERENCE |  | Head1
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Getting out |  | Note
| Keeping sides plumb and to shape |  | Note
| Backfilling |  | Note
| Ramming solid |  | Note
| Loading and disposal of surplus spoil |  | Note
| All double handling required |  | Note
| The Contractor is deemed to have included for material as found |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for complying with relevant Acts, By-laws and regulations relating to excavation, planking and strutting | 1 | Item
| Allow for testing | 1 | Item
| Allow for providing samples and sample panels of materials or finishes | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for keeping excavation free from rain and percolating water by pumping, bailing and other means | 1 | Item
| Allow for protecting finished surfaces from damage and cleaning on completion | 1 | Item
| Allow for concrete pumping here or in rates applied | 1 | Item
| NOTES AND ASSUMPTIONS |  | Head1
Note
Assumption
| STORMWATER |  | Head1
| Pits and Drain |  | Head2
| PIT1 - "detail description" |  | no
| Grated Drain |  | m
| Head Wall |  | No
| Subsoil drainage (AG drain) |  | m
| Pipes |  | Head2
| 150mm uPVC |  | m
| 600mm RCP |  | m
| Tanks |  | Head2
| Detention Tank - "description" ( NB: refer detail to Dwg#) |  | no
| ROADWORK, FOOTHPATH & PAVEMENT |  | Head1
| Asphalt Pavement |  | Head2
| Sub-grade "description" |  | m2
| Sub-base Course "description" |  | m2
| Base Course "description" |  | m2
| Wearing course "description" |  | m2
| Concrete Footpath/Pavement |  | Head2
| Sub-grade "description" |  | m2
| Sub-base Course "description" |  | m2
| Base Course "description" |  | m2
| 150mm thick concrete, 25 Mpa |  | m3
| 150mm high edgeboard to 150mm thick concrete |  | m
| SL-82 mesh on top of 150mm thick concrete |  | m2
| Surface finish |  | m2
| Trimmer bars "description" |  | t
| Curing to concrete |  | m2
| Concrete Driveway/Parking |  | Head2
| Sub-grade "description" |  | m2
| Sub-base Course "description" |  | m2
| Base Course "description" |  | m2
| 150mm thick concrete, 25 Mpa |  | m3
| 150mm high edgeboard to 150mm thick concrete |  | m
| SL-82 mesh on top of 150mm thick concrete |  | m2
| Surface finish |  | m2
| Trimmer bars "description" |  | t
| Curing to concrete |  | m2
| Kerb, Gutter and Island |  | Head2
| Kerb (description, reference dwg) |  | m
| Kerb and gutter (description, reference dwg) |  | m
| Island (description, reference dwg) |  | m
| Joints and Associated Items |  | Head2
| TJ - Tool joint, " description" (NB: refer detail to Dwg#) |  | m
| EJ - Expansion joint, " description" (NB: refer detail to Dwg#) |  | m
| Carpark Sundries |  | Head2
| Line Marking |  | m
| Vehicle Crossing |  | m
| Shared space painting |  | m2
| Arrow Marking |  | no
| Accessible Marking |  | no
| Pram ramp |  | no
| RETAINING WALL |  | Head1
| RW1 - 200mm thick Concrete Retaining Wall |  | Head2
| 500 x 250mm depth 25 Mpa concrete footing (copy the volume to detailed excavation) |  | m3
| Formwork to sides of footing (m2 if greater than 250mm, m if 250mm and less) |  | m2
| Bar reinforcement to footing |  | t
| 200mm thick concrete retaining wall |  | m3
| Formwork to concrete retaining wall |  | m2
| Bar reinforcement to concrete retaining wall |  | t
| Waterproof membrane to back of wall |  | m2
| RW2 - 190mm thick Retaining Block Wall |  | Head2
| 500 x 250mm depth 25 Mpa concrete footing (copy the volume to detailed excavation) |  | m3
| xxxmm high formwork to sides of footing (m2 if greater than 250mm, m if 250mm and less) |  | m2
| Bar reinforcement to footing |  | t
| 190mm thick retaining block wall |  | m2
| Corefilling to retaining block wall; Assumed CF Rate: 0.12m3/m2 |  | m3
| Bar reinforcement to retaining block wall |  | t
| Wall capping |  | m
| Waterproof membrane to back of wall |  | m2
| TOTAL Civil Works |  |  |  | 0
DEMOLITION
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| The Tenderers should carefully check site to assess the extent of Demolition required for this contract |  | Note
| REFERENCE |  | Head1
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Demolition of work |  | Note
| Taking down, removal and cartage from site |  | Note
| Cleaning up on completion |  | Note
| Protecting adjoining surfaces |  | Note
| Making good to work disturbed |  | Note
| Recycling waste where required |  | Note
| Tip fees |  | Note
| Environmental and sustainable requirements detailed in the specification |  | Note
| GENERAL ITEMS |  | Head1
| Allow for site visit to assess the nature and extent of demolition | 1 | Item
| Allow to retain and protect existing works / premises on site and adjoining properties | 1 | Item
| Allow for provision and removal of temporary fencing / screens, hoardings, weather / dust protection measures, security, temporary access, warning notices and the like | 1 | Item
| Allow for all temporary shoring, propping, supports and the like (other than designed shoring and propping measured following) | 1 | Item
| Allow for all required credits for recovered materials | 1 | Item
| Allow for giving notice of any unanticipated hazardous materials or conditions found on site | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for submissions including work plans, data and dilapidation records | 1 | Item
| Allow for traffic management measures | 1 | Item
| Allow for all costs associated with meeting local authority requirements and obtaining approvals | 1 | Item
| DEMOLITION |  | Head1
| TOTAL Demolition |  |  |  | 0
TOTAL FOR BUILDING