## CostX
Preambles
Preambles
Code | Description | Quantity | UOM | Rate | SubTotal | Factor | Total | Total
PREAMBLE
| GENERALLY |  | Head1
| This abbreviated Bill of Quantities dated 3rd March 2019 has been prepared to assist the Contractor in preparing a tender for Lone Pine Barracks, Singleton, NSW BLDG O0753 2019 should not be used for any other purpose. This document must be read in conjunction with the information used in it's preparation as described in these Preambles and not in isolation. |  | Note
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings. |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| This Document is an Abbreviated Bills of Quantities and is measured to briefly describe and accurately represent the works to be executed. The measured items are to be read in conjunction with the Specification and Drawings to fully ascertain the nature and conditions of the Works |  | Note
| The Contractor is referred to the Specification and Drawings for full descriptions of materials and workmanship and shall allow here or in the rates and prices for all costs incurred in complying therewith |  | Note
| MEASUREMENT AND PRICES |  | Head1
| Work has been measured nett as fixed in position |  | Note
| Quantities and dimensions are derived from figured dimensions on the drawings, or scaled from the drawings or otherwise assumed |  | Note
| Dimensions are nominal and to be used for tender purposes only, not for construction, prior to which they may be subject to change and shall be confirmed on site |  | Note
| DESCRIPTION OF ITEMS |  | Head1
| The descriptions of the items are based upon the specification clauses and details on drawings as far as possible and the clauses & section of specification and/or drawing numbers are given therein for further reference. |  | Note
| DOCUMENTATION |  | Head1
| The preparation of this Bill of Quantities has been based on the following documents |  | Head2
| Architectural drawings |  | Head3
| 6641(01), 6642(01), 6643(01), 6644(01), 6645(01), 6646(01), 6647(01), 6648(01), 6649(01), 6650(01), 6651(01), 6652(01), 6653(01), 6654(01), 6655(01), 6656(01), 6657(01), 6658(01), 6659(01), 6660(01), 6661(01), 6662(01), 6663(01), 6664(01), 6665(01), 6666(01), 6667(01), 6668(01), 6669(01), 6670(01), 6671(01), 6672(01), 6673(01), 6674(01), 6676(01), 6677(01), 6678(01), 6679(01), 6680(01), 6681(01), 6682(01), 6683(01), 6684(01), 6685(01), 6686(01), 6687(01), 6688(01), 6689(01), 6690(01), 6691(01), 6692(01), 6693(01), 6694(01), 6695(01), 6696(01), 6697(01), 6698(01), 6699(01), 6700(01), 6701(01), 6702(01), 6703(01), 7000(03), 7100(03), 7101(02), 7102(01), 7103(01), 7200(01), 7201(02) |  | Note
| Structural drawings |  | Head3
| 202181501S-S0000(P4), 0001(P4), 0020(P4), 0040(P4), 0050(P4), 0051(P4), 0060(P4), 0061(P4), 0062(P4), 0063(P4), 0070(P4), 0071(P4), 0080(P4), 0081(P2), 0090(P1), 0091(P1), 0100(P4), 0101(P2), 0102(P2), 0103(P2), 0104(P2), 0105(P4), 0106(P4), 0107(P4), 0108(P3), 0109(P1), 0110(P4), 0115(P1), 0120(P4), 0125(P4), 0130(P4), 0131(P4), 0135(P2), 0140(P4), 0145(P3), 0146(P1), 0147(P1), 0148(P1), 0150(P4), 0155(P1), 0160(P4), 0170(P4), 0171(P4), 0171(P4), 0300(P2), 0310(P1), 0500(P1), 0501(P1), 0511(P1), 0600(P1), 0601(P1), 0611(P1), 0700(P1), 0701(P1), 0711(P1) |  | Note
| Civil drawings |  | Head3
| 202170402C-C001(P4), 005(P5), 006(P3), 010(P4), 020(P3), 021(P4), 040(P3), 041(P3), 050(P3), 055(P2), 060(P3) |  | Note
| Hydraulic Services drawings |  | Head3
| 30112-1-WGE-HY-000(E), 001(E), 002(C), 100(E), 101(E), 102(E), 103(E), 104(E), 200(E), 201(E), 202(E), 203(E), 300(C), 301(A), 302(B), 303(C), 400(F), 500(B), 501(B), 1000(F), 1001(C), 1002(D), 1003(D), 1004(C), 1005(C), 1006(C), 1007(C) |  | Note
| Electrical Services |  | Head3
| 30112-1-WGE-EL-0001(C), 0002(D), 0003(D), 0004(C), 0005(B), 0006(B), 0007(B), 0008(B), 1000(D), 1010(D), 1020(D), 1030(D), 1100(D), 1110(D), 1120(D), 1130(D), 1200(D), 1210(D), 1220(D), 1230(D), 1300(D), 1310(C), 1320(D), 1330(D), 1800(B), 1801(B), 1802(D), 1803(D), 1805(B), 1806(B), 1807(B), 1808(B) |  | Note
| Mechanical Services |  | Head3
| 30112-1-WGE-M-001(D), 002(D), 003(D), 100(D), 101(D), 102(D), 103(D), 104(D), 110(C), 111(D), 112(D), 113(D), 300(C), 302(B), 303(B), 400(C), 401(C), 500(C), 501(C), 502(C), 503(C) |  | Note
| Medical Gas drawings |  | Head3
| 1000(D), 1001(E), 1002(E), 2001(C), 2002(D), 2003(D), 2004(C), 3001(C), 3002(E), 3003(E) |  | Note
| Fire Services drawings |  | Head3
| 30112-1-WGE-FIR-F-000(E), 001(E), 002(C), 100(E), 101(E), 102(E), 103(E), 200(E), 201(E), 202(E), 203(E) |  | Note
| Survey drawings |  | Head3
| 90260-2 Detail_131115 A, 90260-2 Detail_overall_241115, 90260-2 DETAIL_SKETCH, 90260-2 SERVICES_SKETCH, 90260-4 Detail Advanced Copy, 90260-4 Detail Sheet 1 Rev B, 90260-4 Detail Sheet 1, 90260-4 Detail Sheet 2, 90260-4 Detail Sheet 3 Rev B, 90260-4 Detail Sheet 3, NE150296 H01-P2 - Existing Sewer and stormwater |  | Note
| Other documents |  | Head3
| Tender Document (April 2017) |  | Note
| Conditions of Tendering (07.05.2017) |  | Note
| Tender Schedules (17.12.2015) |  | Note
| Preliminaries (14.02.2017) |  | Note
| General Conditions of Contract (March 2014) |  | Note
| Special Conditions to GC21 (Edition 2) |  | Note
| V2 Sch 10 Works Insurance |  | Note
| V2 Sch 10 Att A - PL Insurance |  | Note
| Detail Survey Plans (Rev 0) |  | Note
| Muswellbrook hospital survey (Rodd and Hay Survey) |  | Note
| 161,026 |  | Note
| 0 HI17114 - V3 GC21 e2 Title Page |  | Note
| 0 HI17114 - V4 GC21 e2 Title Page |  | Note
| 1.1 Final Stage 2 Review of Environmental Factors |  | Note
| 1.2 REF0012016 Approval (01.02.2016) |  | Note
| 1.3 REF0012016 Approved plans (Rev A) |  | Note
| 2.1 Hazmat Register (July 2013) |  | Note
| 2.2 Contamination Remediation ENAUWARA06031AA (02.02.2017) |  | Note
| 2.3 Asbestos in Soil Assessment GEOTWARA22658AA-AF (11.07.2016) |  | Note
| 3.1 MSB letter of cond approval tba15-33505s1 (25.02.2016) |  | Note
| 3.2 Bonacci Design Certificate for MSB (16.08.2016) |  | Note
| 3.3 Bonacci MS IS - Structure 160816 (Rev C) |  | Note
| 3.4 MS - GEOTWARA22658AA-AG Final (03.08.2016) |  | Note
| 4.0 Geotechnical Report - GEOTWARA22658AA-AC Final (17.12.2015) |  | Note
| 5.1 HNELHD Medical Gas PCP (13.10.16) |  | Note
| 5.2 HI Design Guidance - Medical Gas System (Rev A) |  | Note
| 6.0 Muswellbrook Sewer and Water Charges (13.01.2017) |  | Note
| 7.0 Acoustic Specification (Rev 1) |  | Note
| A-dec 500 Dental_Chair_Pre_Installation_Guide (Rev D) |  | Note
| A-dec 500 Pre Install Guide (Rev A) |  | Note
| 15028 A-Door Hardware Schedule (Rev 02) |  | Note
| 15028-A-Muswellbrook Hospital_Architectural Specification (Rev 02) |  | Note
| 15028-MBMO-FFFE (01) Muswellbrook FF&FE Schedule (Rev 01) |  | Note
| 15028-MBMO-FTS [01] Muswellbrook Fittings Schedule (Rev 02) |  | Note
| 15028-MBMO-SFS [01] Muswellbrook Sanitary Fixture Schedule (Rev 01) |  | Note
| Electical Specification EL-SP-001 (Rev B) |  | Note
| Hydraulic Specification H-SPC-004(Rev 004) |  | Note
| 30112-1-MBH-Mechanical-SIR-001 Services Impact Report (Rev 03) |  | Note
| 202181501S-Musswellbrook Structural Specification (Rev P1) |  | Note
| Mechanical Services Specification (21.04.2017) |  | Note
| Vertical Transport Specification (24.04.2017) |  | Note
| MEASURED TRADES |  | Head1
| The measured works covered by this Bill of Quantities comprise the following: |  | Note
| ^^^^Demolition |  | Note
| ^^^^Earthworks |  | Note
| ^^^^Concretework |  | Note
| ^^^^Precast Concrete |  | Note
| ^^^^Structural Steel |  | Note
| ^^^^Roofing |  | Note
| ^^^^External Wall Cladding |  | Note
| ^^^^Metalwork |  | Note
| ^^^^Roller Shutters |  | Note
| ^^^^Windows and Glazing |  | Note
| ^^^^Partition & Lining |  | Note
| ^^^^Ceiling |  | Note
| ^^^^Doors and Hardware |  | Note
| ^^^^Joinery |  | Note
| ^^^^Fixtures Fittings & Equipment |  | Note
| ^^^^Tiling |  | Note
| ^^^^Vinyl |  | Note
| ^^^^Carpet |  | Note
| ^^^^Cement Render |  | Note
| ^^^^Painting |  | Note
| ^^^^Signage & Linemarking |  | Note
| ^^^^Fencing and Gates |  | Note
| ^^^^External Works |  | Note
| UN-MEASURED TRADES |  | Head1
| Although no measurements have been carried out, "Items" have been given to allow for pricing for the following trades: |  | Note
| ^^^^Preliminaries |  | Note
| ^^^^Design Fee |  | Note
| ^^^^Hydraulics |  | Note
| ^^^^Fire |  | Note
| ^^^^Electrical |  | Note
| ^^^^Mechanical |  | Note
| ITEMS |  | Head1
| Tenderer to ensure than any pricing of items within these Bills with 'Item' noted in the 'Unit' column have been properly extended into the 'Item Total' column. |  | Note
| If a quantity of '1' should appear against an 'Item' in the 'Unit' column it does not constitute a quantity of '1' , a quantity of '1' in these Bills is represented by '1 No' only. By placing a '1' in front of an Item it ensures any amount loaded into the rate column will be extended to the 'Item Total' column. |  | Note
| STANDARD OF DOCUMENTATION PROVIDED AND OUR RESPONSE |  | Head1
| Whenever there is conflict between documents and or lack of details we have dealt them with "Notes" at the beginning of each trade to identify and have indicated what measure we have taken in our measurement to the issue in question. It is, therefore, recommended that the Estimator/SubContractor to read these special notes before pricing. |  | Note
| CLARIFICATION |  | Head1
| The Contractor should contact JOSH RYAN QUANTITY SURVEYORS immediately for further information on any item which he considers to be insufficient for pricing, or requires clarification |  | Note
| ACCURACY |  | Head1
| It should be noted that the accuracy of the quantities and the Quality of the Bill of Quantities are dependant on the information [Drawings and Specifications] provided. The Contractor should, therefore, notify JOSH RYAN QS immediately of any discrepancies, errors or omissions and should satisfy himself as to the total accuracy of the quantities. The Contractor shall accept the quantities and documents on the above conditions and undertakes not to raise any demand or claim whatsoever against JOSH RYAN QS in respect of the quantities and documents. |  | Note
=---------------- END OF TRADE -----------------
| ABBREVIATIONS |  | Head1
| The following abbreviations may be found in this Bill of Quantities |  | Head3
| BQ or BoQ (Bill of Quantities) |  | noid0
| m (metres) |  | noid0
| m2 (square metres) |  | noid0
| m3 (cubic metres) |  | noid0
| mm (millimetres) |  | noid0
| t (tonnes) |  | noid0
| No. (number) |  | noid0
| dia. or dia. (diameter) |  | noid0
| msd. sep. (measured separately) |  | noid0
| galv. (galvanised) |  | noid0
| HDG (hot dip galvanised) |  | noid0
| approx. (approximately) |  | noid0
| n.e. (not exceeding) |  | noid0
| DPC (damp proof course) |  | noid0
| c.o.p. (curved or circular on plan) |  | noid0
| MDF (medium density fibreboard) |  | noid0
| FC (fibre cement) |  | noid0
| CFC (compressed fibre cement) |  | noid0
| HMR (high moisture resistant) |  | noid0
| EO (Extra over) |  | noid0
| OTR (other than rock) |  | noid0
| Ag. (agricultural) |  | noid0
| MS (mild steel) |  | noid0
| SS (stainless steel) |  | noid0
| SSS (satin stainless steel) |  | noid0
| CP (chrome plated) |  | noid0
| SCP (satin chrome plated) |  | noid0
| CHS (circular hollow section) |  | noid0
| RHS (rectangular hollow section) |  | noid0
| SHS (square hollow section) |  | noid0
| max. (maximum) |  | noid0
| min. (minimum) |  | noid0
| o/all (overall) |  | noid0
| UNO (unless noted otherwise) |  | noid0
| BoQ (Bills of Quantities) |  | noidn
| TOTAL Preamble |  |  |  | 0
EARTHWORKS/GROUNDWORKS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Getting out, levelling, grading, trimming and forming batters |  | Note
| Keeping sides plumb and to shape |  | Note
| Scabbling faces of excavation as required |  | Note
| Backfilling, ramming solid |  | Note
| Processing excavated materials suitable for reuse as fill |  | Note
| Loading and disposal of surplus spoil |  | Note
| Importing fill where required |  | Note
| All double handling required |  | Note
| All costs associated with forming and maintaining stripped material stockpiles |  | Note
| Tip fees |  | Note
| The Contractor is deemed to have included for material as found |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for providing samples | 1 | Item
| Allow for testing | 1 | Item
| Allow for contractors submissions | 1 | Item
| Allow for inspection of site | 1 | Item
| Allow for complying with relevant Acts, By-laws and regulations relating to excavation, planking and strutting | 1 | Item
| Allow for all costs associated with meeting local authority requirements and obtaining approvals | 1 | Item
| Allow for locating and marking all existing services including disconnection of redundant services not otherwise allowed for and protection of services to be retained | 1 | Item
| Allow for a dilapidation survey if required, monitoring of existing buildings, pavements and structures close to work areas, controlling possible damage and making good damage on completion | 1 | Item
| Allow for keeping excavations free from rain and percolating water by pumping, bailing and other means | 1 | Item
| Allow for provision and removal of temporary fencing, hoardings warning notices and the like | 1 | Item
| Allow for traffic management measures | 1 | Item
| Allow for any shoring, planking and strutting deemed necessary to retain sides of excavations but not measured following | 1 | Item
| Allow for benching prior to bulk fill on surfaces exeeding 1:4 slope | 1 | Item
| Allow for any working space excavations deemed necessary but not measured following | 1 | Item
| Allow for any safety covers over holes and other OH&S requirements | 1 | Item
| Allow for geotechnical investigations, monitoring and reports | 1 | Item
| TOTAL Earthworks/Groundworks |  |  |  | 0
DEMOLITION
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| The Tenderers should carefully check site to assess the extent of Demolition required for this contract |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Demolition of work |  | Note
| Taking down, removal and cartage from site |  | Note
| Cleaning up on completion |  | Note
| Protecting adjoining surfaces |  | Note
| Making good to work disturbed |  | Note
| Recycling waste where required |  | Note
| Tip fees |  | Note
| Environmental and sustainable requirements detailed in the specification |  | Note
| GENERAL ITEMS |  | Head1
| Allow for site visit to assess the nature and extent of demolition | 1 | Item
| Allow to retain and protect existing works / premises on site and adjoining properties | 1 | Item
| Allow for provision and removal of temporary fencing / screens, hoardings, weather / dust protection measures, security, temporary access, warning notices and the like | 1 | Item
| Allow for all temporary shoring, propping, supports and the like (other than designed shoring and propping measured following) | 1 | Item
| Allow for all required credits for recovered materials | 1 | Item
| Allow for giving notice of any unanticipated hazardous materials or conditions found on site | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for submissions including work plans, data and dilapidation records | 1 | Item
| Allow for traffic management measures | 1 | Item
| Allow for all costs associated with meeting local authority requirements and obtaining approvals | 1 | Item
| TOTAL Demolition |  |  |  | 0
SUBSTRUCTURE
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Mixing, handling, hoisting, placing in position and compacting |  | Note
| Pour joints / construction joints not detailed by engineer OR shown on drawings but not requiring formwork or jointing materials (eg between slab/footing and base of column/wall), including any associated scabbling |  | Note
| Forming falls and/or crossfalls for drainage other than indicated below as detailed |  | Note
| Making good after removal of formwork all holes for pipes, conduits and the like and casting in ends of angle brackets, lugs, frames and the like |  | Note
| Additional concrete required to conform to structural and excavated tolerances |  | Note
| All necessary boarding, supports, erecting, framing, temporary cambering, wedging, bolts, ties, etc |  | Note
| All cutting and angles |  | Note
| Perforations for reinforcing bars and pipes |  | Note
| Cleaning, wetting and treatment with separating agent before placing concrete |  | Note
| Provision of inspection openings |  | Note
| Removal of formwork |  | Note
| Forming chamferred edges / corners, splayed internal angles, bevels, pencil-round edges, drip grooves and the like in beams, columns, walls, openings, slab edges, kerbs and the like |  | Note
| Filling tie bolt holes |  | Note
| Strutting left after removal of formwork |  | Note
| Supply and delivery to site |  | Note
| Cleaning, cutting, bending, fabrication and tagging |  | Note
| Placing and provision of all necessary temporary fixings and supports including tie wire, chair supports, etc |  | Note
| Rolling margins and waste |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for approval of foundation material bearing capacity by the consulting Geotechnical Engineer prior to placement of concrete | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for all testing in accordance with Engineers requirements | 1 | Item
| Allow for providing samples and sample panels of materials or finishes | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for protecting finished surfaces from damage and cleaning on completion | 1 | Item
| Allow for coordination with and attendance upon other trades for embedded items and other works associated with Concrete | 1 | Item
| Allow for catch scaffolds where propping height exceeds 5m if required (or other OH&S requirements as necessary) | 1 | Item
| Allow for working platforms around suspended slabs if required (not included in measured areas) | 1 | Item
| Allow for safety capping to starter bars | 1 | Item
| Allow for all costs associated with cathodic protection, earthing and lightning conduction | 1 | Item
| Allow for guarantees | 1 | Item
| TOTAL Substructure |  |  |  | 0
CONCRETE
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Mixing, handling, hoisting, placing in position and compacting |  | Note
| Pour joints / construction joints not detailed by engineer OR shown on drawings but not requiring formwork or jointing materials (eg between slab/footing and base of column/wall), including any associated scabbling |  | Note
| Forming falls and/or crossfalls for drainage other than indicated below as detailed |  | Note
| Making good after removal of formwork all holes for pipes, conduits and the like and casting in ends of angle brackets, lugs, frames and the like |  | Note
| Additional concrete required to conform to structural and excavated tolerances |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for approval of foundation material bearing capacity by the consulting Geotechnical Engineer prior to placement of concrete | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for all testing in accordance with Engineers requirements | 1 | Item
| Allow for providing samples and sample panels of materials or finishes | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for protecting finished surfaces from damage and cleaning on completion | 1 | Item
| Allow for coordination with and attendance upon other trades for embedded items and other works associated with Concrete | 1 | Item
| Allow for guarantees | 1 | Item
| TOTAL Concrete |  |  |  | 0
FORMWORKS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| All necessary boarding, supports, erecting, framing, temporary cambering, wedging, bolts, ties, etc |  | Note
| All cutting and angles |  | Note
| Perforations for reinforcing bars and pipes |  | Note
| Cleaning, wetting and treatment with separating agent before placing concrete |  | Note
| Provision of inspection openings |  | Note
| Removal of formwork |  | Note
| Forming chamferred edges / corners, splayed internal angles, bevels, pencil-round edges, drip grooves and the like in beams, columns, walls, openings, slab edges, kerbs and the like |  | Note
| Filling tie bolt holes |  | Note
| Strutting left after removal of formwork |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for contractors submissions | 1 | Item
| Allow for catch scaffolds where propping height exceeds 5m if required (or other OH&S requirements as necessary) | 1 | Item
| Allow for working platforms around suspended slabs if required (not included in measured areas) | 1 | Item
| TOTAL Formworks |  |  |  | 0
REINFORCEMENT
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Supply and delivery to site |  | Note
| Cleaning, cutting, bending, fabrication and tagging |  | Note
| Placing and provision of all necessary temporary fixings and supports including tie wire, chair supports, etc |  | Note
| Rolling margins and waste |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for producing bending schedules | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for safety capping to starter bars | 1 | Item
| Allow for all costs associated with cathodic protection, earthing and lightning conduction | 1 | Item
| TOTAL Reinforcement |  |  |  | 0
STRUCTURAL STEEL
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| All shop fabrication work including cutting, notching, milling, machining, drilling, slotted holes, bolting, riveting, welding, grinding and incidental labours |  | Note
| Marking, delivery, unloading, hoisting, erecting and fixing |  | Note
| Cutting to dead lengths, notching and machining ends and bearings |  | Note
| Site cutting and welding |  | Note
| Touching up surface treatment where required |  | Note
| Bolts including nuts and washers |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for preparation of shop drawings | 1 | Item
| Allow for testing in accordance with the Engineer's requirements | 1 | Item
| Allow for providing samples of materials or finishes | 1 | Item
| Allow for obtaining manufacturers certificates of inspections | 1 | Item
| Allow for special trial shop assembly where required | 1 | Item
| Allow for necessary temporary bracing, propping and the like required for erection and removing on completion | 1 | Item
| Allow for inspection / testing of welds including the use of any special equipment | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for identification marks to steel | 1 | Item
| TOTAL Structural steel |  |  |  | 0
POST-TENSIONING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Formation of and grouting of all air holes |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for samples and tests | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for contractors submissions including shop drawings, work method statement, certificates, etc | 1 | Item
| Allow for supply of power for prestressing works | 1 | Item
| Allow for supply of water for prestressing works | 1 | Item
| Allow for hoisting of prestressing materials and equipment | 1 | Item
| Allow for scaffolding | 1 | Item
| Allow for the supply of expendable items such as cones, wedges, anchor plates, spacers and similar items | 1 | Item
| Allow for cutting off staple ends as required | 1 | Item
| Allow for compressed air as required | 1 | Item
| Allow for filling and parging of pockets / recesses at anchorages | 1 | Item
| Allow for all design and detailing by post-tensioning subcontractor | 1 | Item
endh1
| TOTAL Post-tensioning |  |  |  | 0
PRECAST CONCRETE
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Formwork including rebates, grooves etc |  | Note
| Reinforcement |  | Note
| Filling of pockets |  | Note
| Surface finishes |  | Note
| Fittings or items cast into units |  | Note
| Shims and packers |  | Note
| Temporary propping and bracing |  | Note
| All costs associated with off-site manufacture and transport |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for shop drawings and other submissions | 1 | Item
| Allow for required design work | 1 | Item
| Allow for providing samples, sample units, panels and sample surface finishes | 1 | Item
| Allow for all testing in accordance with Engineers and Architects requirements | 1 | Item
| Allow for prototype assembly if required | 1 | Item
| Allow for marking and certification of manufactured panels | 1 | Item
| Allow for any necessary additional reinforcement or strong backs for temporary strengthening during lifting | 1 | Item
| Allow for any recessed cast-in eyes, lugs and the like as required for lifting including infilling on completion | 1 | Item
| Allow for curing in accordance with engineers requirements | 1 | Item
| Allow for protecting during manufacture and storage | 1 | Item
| Allow for protecting and cleaning on completion of installation | 1 | Item
| Allow for providing dowel location templates | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Precast Concrete |  |  |  | 0
MASONRY
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Square cutting and waste |  | Note
| Forming all openings, machine cutting, cutting to form bond, cutting to form chases for edges of floor slabs |  | Note
| Forming reveals including pointing and cleaning down |  | Note
| Plumbing reveals and angles |  | Note
| Building in of frames, flashings, dampproof course, ties, lintels, structural steel framework and the like |  | Note
| Raking out joints for applied finishes |  | Note
| Keeping cavities clear of mortar droppings |  | Note
| Forming weepholes |  | Note
| Using solid blocks where core holes would otherwise be visible or where required for fire rating |  | Note
| Using matching half-blocks, closers, lintel and bond beam blocks as required |  | Note
| Building in or cutting holes for pipes, handrails, cramps, steel ties sections and the like |  | Note
| Making good and protecting finished surfaces |  | Note
| Cleaning down |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for providing brick and mortar samples | 1 | Item
| Allow for building sample panels | 1 | Item
| Allow for testing | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for data submissions | 1 | Item
| Allow for storing and protecting bricks | 1 | Item
| Allow for warranties | 1 | Item
| Allow for attending on and making good after all other trades, cutting out, forming all chases, grooves and holes building in all pipes, sleeves, anchor, bolts, lugs, fixings etc as required, replacing defective bricks, pointing up all faulty joints, holes and dressing and making good damaged or defective work | 1 | Item
| TOTAL Masonry |  |  |  | 0
METALWORK
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Cutting including raking and circular cutting and waste |  | Note
| All shop fabrication work including cutting, notching, milling, machining, drilling, slotted holes, bolting, riveting, welding, grinding and incidental labours |  | Note
| Marking, delivery, unloading, hoisting, erecting and fixing |  | Note
| Cutting to dead lengths and machining ends and bearings |  | Note
| Touching up surface treatment where damaged |  | Note
| Bolts including nuts and washers |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for preparation of shop drawings | 1 | Item
| Allow for providing samples of materials or finishes as required | 1 | Item
| Allow for tests | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Metalwork |  |  |  | 0
FLOOR FINISH
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Cutting including raking and circular cutting and waste |  | Note
| Making good around pipes and the like |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for all deemed to be included items | 1 | Item
| Allow for preparation of shop drawings | 1 | Item
| Allow for samples | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Floor Finish |  |  |  | 0
TILING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Temporary rules, temporary grounds, temporary screeds and the like |  | Note
| Cutting including raking and circular cutting and waste |  | Note
| Cutting and making good around pipes, sanitary fittings, floor wastes and the like |  | Note
| All normal bedding and pointing materials, adhesives and the like |  | Note
| Standard glazed edge tiles |  | Note
| Salient and re-entrant corners including trims if required by the documents |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for attending on and making good after all other trades, cutting out and making good defective work | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for laying sample panel | 1 | Item
| Allow for submitting samples | 1 | Item
| Allow for cleaning and polishing on completion | 1 | Item
| Allow for grouted and caulked joints | 1 | Item
| Allow for spare tiles | 1 | Item
| Allow for preparation of substrate | 1 | Item
| Allow for warranties | 1 | Item
endh1
| TOTAL Tiling |  |  |  | 0
CARPET
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Vacuuming or mopping, cleaning, covering and protecting and masking surfaces |  | Note
| Cutting including raking and circular cutting and waste |  | Note
| Making good around pipes and the like |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for all deemed to be included items | 1 | Item
| Allow for preparation of shop drawings | 1 | Item
| Allow for samples | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Carpet |  |  |  | 0
WATERPROOFING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Fair edges, dressing over angle fillets, turning into grooves and all other labours |  | Note
| Internal and external angles, fillets, circular edges |  | Note
| Separation strips other than those specifically detailed |  | Note
| Nails, screws, clips, rivets, straps, fixings and the like |  | Note
| Provision for thermal movement |  | Note
| Isolation of dissimilar materials |  | Note
| Temporary screeds, rules and grounds |  | Note
| Laps, square cutting and waste |  | Note
| Environmental and sustainable requirements detailed in the specification |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection, of tanking components | 1 | Item
| Allow for protecting the waterproofing from damage throughout the work and cleaning off on completion, including cleaning out of rainwater systems | 1 | Item
| Allow for ensuring that the roof slab structure is satisfactory before fixing membranes, and providing certification of same prior to commencing installation | 1 | Item
| Allow for testing | 1 | Item
| Allow for data submissions | 1 | Item
| Allow for warranties | 1 | Item
| Allow for maintenance manual | 1 | Item
| Allow for workshop drawings and details | 1 | Item
endh1
| TOTAL Waterproofing |  |  |  | 0
LANDSCAPING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings. |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices for landscaping related excavation shall include for:- |  | Head2
| Getting out |  | Note
| Keeping sides plumb and to shape |  | Note
| Backfilling |  | Note
| Ramming solid |  | Note
| Loading and disposal of surplus spoil |  | Note
| All double handling required |  | Note
| The Contractor is deemed to have included for material as found |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for complying with relevant Acts, By-laws and regulations relating to excavation, planking and strutting | 1 | Item
| Allow for giving notice and providing facilities for inspections | 1 | Item
| Allow for contractors submissions | 1 | Item
| Allow for samples and tests | 1 | Item
| Allow for warranties | 1 | Item
| Allow for inspection of site | 1 | Item
| Allow for keeping excavation free from rain and percolating water by pumping, bailing and other means | 1 | Item
| Allow for warning sign regarding plant protection | 1 | Item
| Allow for temporary landscape fencing | 1 | Item
| Allow for reinstatement of existing turf or landscape areas which may be disturbed during the course of the works | 1 | Item
| Allow for submitting warranties and maintenance manuals where required | 1 | Item
endh1
| TOTAL Landscaping |  |  |  | 0
CIVIL WORKS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings. |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Getting out |  | Note
| Keeping sides plumb and to shape |  | Note
| Backfilling |  | Note
| Ramming solid |  | Note
| Loading and disposal of surplus spoil |  | Note
| All double handling required |  | Note
| The Contractor is deemed to have included for material as found |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for complying with relevant Acts, By-laws and regulations relating to excavation, planking and strutting | 1 | Item
| Allow for testing | 1 | Item
| Allow for providing samples and sample panels of materials or finishes | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for keeping excavation free from rain and percolating water by pumping, bailing and other means | 1 | Item
| Allow for protecting finished surfaces from damage and cleaning on completion | 1 | Item
| Allow for concrete pumping here or in rates applied | 1 | Item
| TOTAL Civil works |  |  |  | 0
INSULATION
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Laps, square cutting and waste |  | Note
| Nails, screws, clips, rivets, straps and the like |  | Note
| Temporary screeds, rules and grounds |  | Note
| Environmental and sustainable requirements detailed in the specification |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice and providing facilities for inspections | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Insulation |  |  |  | 0
PILING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| All necessary excavation required for movement of the piling/boring rig about the site |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| Prices for concrete and reinforcement shall include for all prices clauses items noted in those trade sections that may be applicable to the following works |  | Note
| Prices for piling measured following are to include for any additional costs associated with staging with bulk earthworks if required |  | Note
| GENERAL ITEMS |  | Head1
| Allow for monitoring adjoining properties or piers during the works for damage | 1 | Item
| Allow for giving notice of and providing facilities for inspections | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for all testing in accordance with Engineers requirements | 1 | Item
| Allow for providing samples of materials or finishes as required | 1 | Item
| Allow for setting out | 1 | Item
| Allow for records of data and other contractors submissions | 1 | Item
| Allow for boodler to boring rig where required | 1 | Item
| Allow for providing safety covers to open excavations or other OH&S requirements | 1 | Item
| Allow for all foundation material to be monitored and certified by a suitably qualified Geotechnical Engineer prior to installation of reinforcement and concrete | 1 | Item
| Allow for proving holes at base of footings if required by the contractors Geotechnical Engineer | 1 | Item
| TOTAL Piling |  |  |  | 0
TERMITE MANAGEMENT
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Straight, raking and circular cutting and waste |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for submissions | 1 | Item
| Allow for samples | 1 | Item
| Allow for testing | 1 | Item
| Allow for providing certification in accordance with AS3660 | 1 | Item
| Allow for termite barrier notices / signage | 1 | Item
| Allow for warranties | 1 | Item
endh1
| TOTAL Termite Management |  |  |  | 0
ROOFING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Laps, square or raking cutting and waste |  | Note
| Turning-up and turning-down roof sheets |  | Note
| Nails, screws, clips, rivets, straps and the like |  | Note
| Provision for thermal movement |  | Note
| Isolation of dissimilar materials |  | Note
| Fixing of wall cladding in vertical or horizontal direction as required |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice and providing facilities for inspections | 1 | Item
| Allow for providing samples and prototypes | 1 | Item
| Allow for tests | 1 | Item
| Allow for contractors submissions | 1 | Item
| Allow for providing warranties | 1 | Item
| Allow for providing maintenance manuals | 1 | Item
| Allow for protecting the roofing system from damage throughout the work and cleaning off on completion | 1 | Item
| Allow for ensuring that the roof structure is satisfactory before fixing roof sheeting | 1 | Item
| TOTAL Roofing |  |  |  | 0
CLADDING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Laps, square or raking cutting and waste |  | Note
| Fixing in position with all necessary templates, blocking, nails, screws, plugs etc |  | Note
| Cutting including raking and circular cutting and waste |  | Note
| Cutting and making good around pipes and the like |  | Note
| Environmental and sustainable requirements detailed in the specification |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for co-operating with, attending on and making good after all other trades as necessary | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for cleaning on completion | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for data submissions | 1 | Item
| Allow for warranties | 1 | Item
| Allow for contractor's submissions | 1 | Item
| TOTAL Cladding |  |  |  | 0
WALLS, PARTITIONS AND LININGS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| Wall framing |  | Head3
| All shop fabrication work including cutting, notching, milling, machining, drilling, slotted holes, bolting, riveting, welding, grinding and incidental labours |  | Note
| Marking, delivery, unloading, hoisting, erecting and fixing |  | Note
| Cutting to dead lengths, notching and machining ends and bearings |  | Note
| Touching up surface treatment where required |  | Note
| Bolts and nuts and any type of washer that may be required |  | Note
| Linings |  | Head3
| Cutting including raking and circular cutting and waste |  | Note
| Notching and fitting around projections, pipes, light fittings, hatches and the like and including cleats, packers, wedges and similar items |  | Note
| Nails and screws |  | Note
| Internal and external angles |  | Note
| Edges set and finished flush with solid plastering in the same plane |  | Note
| Casing beads |  | Note
| Cutting and making good around pipes and the like |  | Note
| Insulation |  | Head3
| Laps, square cutting and waste |  | Note
| Nails, screws, clips, rivets, straps and the like |  | Note
| Temporary screeds, rules and grounds |  | Note
| GENERAL ITEMS |  | Head1
| Allow for shop drawings if required | 1 | Item
| Allow for samples | 1 | Item
| Allow for testing | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for attending on and making good after all other trades, cutting out and making good defective work and for cleaning on completion | 1 | Item
| Allow for protecting finished surfaces | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for cleaning on completion | 1 | Item
| Allow for maintenance manual | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Walls, Partitions and Linings |  |  |  | 0
CEILINGS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Cutting including raking and circular cutting and waste |  | Note
| Cutting and making good around sprinkler heads, pipes and the like |  | Note
| Movement and control joints |  | Note
| Purpose made stop beads, casing beads and corner beads |  | Note
| Internal and external angles |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for contractor's submissions | 1 | Item
| Allow for submitting samples | 1 | Item
| Allow for testing | 1 | Item
| Allow for attending on and making good after all other trades, cutting out and making good defective work and for cleaning on completion | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for warranties | 1 | Item
| Allow for cleaning on completion | 1 | Item
| Allow for giving notice of inspections | 1 | Item
| Allow for providing spares | 1 | Item
| TOTAL Ceilings |  |  |  | 0
RESILIENT FINISHES
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Cutting including raking and circular cutting and waste |  | Note
| Making good around pipes and the like |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for attending on and making good after all other trades, cutting out and making good defective work | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for testing | 1 | Item
| Allow for samples | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for cleaning on completion | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for polishing of vinyl sheeting | 1 | Item
| Allow for spare materials as specified (1%) | 1 | Item
| Allow for maintenance manual | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Resilient Finishes |  |  |  | 0
CARPENTRY & JOINERY
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Cutting including raking and circular cutting and waste |  | Note
| Labours in framing, checking, mitring, housing, halving, mortice and tenoning, gluing, spiking, screwing and drilling for bolts |  | Note
| Shop priming before fixing and priming all faces of undressed timber to be built in as required |  | Note
| Fixing in position with all necessary templates, blocking, nails, screws, plugs etc |  | Note
| Drawer and door hardware |  | Note
| Mitred angles and stopped and fitted ends |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for submitting samples | 1 | Item
| Allow for Contractor's submissions | 1 | Item
| Allow for attending on and making good after all other trades, cutting out and making good defective work | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Carpentry & Joinery |  |  |  | 0
WINDOWS AND GLAZED DOORS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| All shop fabrication work |  | Note
| Marking, delivery, unloading, hoisting, erecting and fixing |  | Note
| Frames, mullions, transoms, glazing bars, beads and trims |  | Note
| Cover plates within and between window units |  | Note
| Window and door hardware |  | Note
| Chain winders if required |  | Note
| Caulking and pointing |  | Note
| Flashings and weather bars |  | Note
| Glass and glazing |  | Note
| Sub-sills and sub-heads |  | Note
| Packers |  | Note
| Touching up surface treatment where damaged |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for shop drawings as required | 1 | Item
| Allow for providing samples of materials or finishes as required | 1 | Item
| Allow for testing | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for providing shop drawings | 1 | Item
| Allow for protecting finished surfaces | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for warranties | 1 | Item
endh1
| TOTAL Windows and Glazed Doors |  |  |  | 0
EXTERNAL WALLS, FACADES & DOORS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Cutting including raking and circular cutting and waste |  | Note
| Labours in framing, checking, mitring, housing, halving, mortice and tenoning, gluing, spiking, screwing and drilling for bolts |  | Note
| Shop priming before fixing and priming all faces of undressed timber to be built in as required |  | Note
| Fixing in position with all necessary templates, blocking, nails, screws, plugs etc |  | Note
| Cut-outs, spreader bars, stiffener plates, packers, mortar guards, strike plates, ties and anchors, rubber buffers, hinges etc. |  | Note
| Filling frames solid with mortar and/or pressure grouting |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| Wall framing |  | Head3
| All shop fabrication work including cutting, notching, milling, machining, drilling, slotted holes, bolting, riveting, welding, grinding and incidental labours |  | Note
| Marking, delivery, unloading, hoisting, erecting and fixing |  | Note
| Cutting to dead lengths, notching and machining ends and bearings |  | Note
| Touching up surface treatment where required |  | Note
| Bolts and nuts and any type of washer that may be required |  | Note
| Linings |  | Head3
| Notching and fitting around projections, pipes, light fittings, hatches and the like and including cleats, packers, wedges and similar items |  | Note
| Nails and screws |  | Note
| Internal and external angles |  | Note
| Edges set and finished flush with solid plastering in the same plane |  | Note
| Casing beads |  | Note
| Cutting and making good around pipes and the like |  | Note
| Insulation |  | Head3
| Laps, square cutting and waste |  | Note
| Nails, screws, clips, rivets, straps and the like |  | Note
| Temporary screeds, rules and grounds |  | Note
| GENERAL ITEMS |  | Head1
| Allow for shop drawings if required | 1 | Item
| Allow for samples | 1 | Item
| Allow for testing | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for attending on and making good after all other trades, cutting out and making good defective work and for cleaning on completion | 1 | Item
| Allow for protecting finished surfaces | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for providing independent testing authority report that fire doors have passed relevant tests | 1 | Item
| Allow for priming the top and bottom edges of the door before installation | 1 | Item
| Allow for cleaning on completion | 1 | Item
| Allow for maintenance manual | 1 | Item
| Allow for keying alike, master keying and grandmaster keying if specified | 1 | Item
| Allow for co-operating with, attending upon and making good after all other trades as necessary | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL External Walls, Facades & Doors |  |  |  | 0
DOORS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Labours in framing, checking, mitring, housing, halving, mortice and tenoning, gluing, spiking, screwing and drilling for bolts |  | Note
| Shop priming before fixing and priming all faces of undressed timber to be built in as required |  | Note
| Fixing in position with all necessary templates, blocking, nails, screws, plugs etc |  | Note
| Cut-outs, spreader bars, stiffener plates, packers, mortar guards, strike plates, ties and anchors, rubber buffers, hinges etc. |  | Note
| Filling frames solid with mortar and/or pressure grouting |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for shop drawings as required | 1 | Item
| Allow for submitting samples | 1 | Item
| Allow for testing | 1 | Item
| Allow for attending upon and making good after all other trades, cutting out and making good defective work and for cleaning off and leaving work perfect on completion | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for providing independent testing authority report that fire doors have passed relevant tests | 1 | Item
| Allow for priming the top and bottom edges of the door before installation | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Doors |  |  |  | 0
DOOR HARDWARE
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Fixings such as bolts, power fixings, other metal anchors, fasteners and similar items |  | Note
| Fixing in position |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for keying alike, master keying and grandmaster keying if specified | 1 | Item
| Allow for construction keying | 1 | Item
| Allow for submitting samples | 1 | Item
| Allow for co-operating with, attending upon and making good after all other trades as necessary | 1 | Item
| Allow for all contractors submissions such as manufacturers published product data and key control system | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Door Hardware |  |  |  | 0
OVERHEAD DOORS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| fixing in position with all necessary templates, blocking, nails, screws, plugs etc |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for submitting samples | 1 | Item
| Allow for attending on and making good after all other trades, cutting out and making good defective work | 1 | Item
| Allow for Contractor's submissions | 1 | Item
| Allow for covering and protecting surfaces from weather and building operations | 1 | Item
| Allow for providing independent testing authority report that fire doors have passed relevant tests | 1 | Item
| Allow for purpose made proprietary seals as required | 1 | Item
| Allow for flashings, weather bars, drips, storm moulds, caulking and pointing as required | 1 | Item
| Allow for warranties | 1 | Item
endh1
| TOTAL Overhead Doors |  |  |  | 0
SIGNAGE
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| All shop fabrication work including cutting milling, machining, drilling, grinding and incidental labours |  | Note
| Delivery, unloading, erecting and fixing |  | Note
| Touching up surface treatment where damaged |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for providing samples of materials or finishes as required | 1 | Item
| Allow for protecting finished surfaces | 1 | Item
| Allow for warranties | 1 | Item
| Allow for any undetailed statutory signage | 1 | Item
| TOTAL Signage |  |  |  | 0
PAINTING
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Provision, erection and removal of scaffolding |  | Note
| Preparation of surfaces |  | Note
| Rubbing between coats and the like |  | Note
| Back priming of dressed timber where required |  | Note
| Protection and masking of floors, fittings and the like |  | Note
| Removing and replacing door and window furniture |  | Note
| Removing splash and spray marks |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for providing samples | 1 | Item
| Allow for all testing | 1 | Item
| Allow for obtaining manufacturer's certificates | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for cleaning on completion | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for covering and protecting surfaces from building operations | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Painting |  |  |  | 0
FFE/ FURNITURE, FITTINGS AND EQUIPMENT
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Fixing in position with all necessary templates, blocking, nails, screws, plugs etc |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for contractor's submissions | 1 | Item
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for attending upon and making good after all other trades, cutting out and making good defective work and for cleaning off and leaving work perfect on completion | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL FFE/ Furniture, Fittings and Equipment |  |  |  | 0
STORMWATER DRAINAGE
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Getting out, levelling, grading, trimming |  | Note
| Keeping sides plumb and to shape |  | Note
| Scabbling faces of excavation as required |  | Note
| Backfilling, ramming solid |  | Note
| Loading and disposal of surplus spoil |  | Note
| All double handling required |  | Note
| All costs associated with forming and maintaining stripped material stockpiles |  | Note
| Tip fees |  | Note
| The Contractor is deemed to have included for material as found |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for complying with relevant Acts, By-laws and regulations relating to excavation, planking and strutting | 1 | Item
| Allow for tests | 1 | Item
| Allow for tests | 1 | Item
| Allow for all costs associated with meeting local authority requirements and obtaining approvals | 1 | Item
| Allow for keeping excavations free from rain and percolating water by pumping, bailing and other means | 1 | Item
| Allow for any shoring, planking and strutting deemed necessary to retain sides of excavations | 1 | Item
| TOTAL Stormwater Drainage |  |  |  | 0
HYDRAULIC SERVICES
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Excavation and backfilling including removal of spoil, maintaining faces of trenches and pits, forming pockets beneath collars and all jointing |  | Note
| Plant and equipment, pipework, fittings, fixtures, taps, traps connections, ancillary items and anything else necessary to complete the works |  | Note
| Testing and commissioning |  | Note
| Documentation, operating instructions and maintenance manuals |  | Note
| Co-ordination with other engineering installations |  | Note
| Complying with all statutory regulations |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for keeping excavations free from rain and percolating water by pumping or other means | 1 | Item
| Allow for giving notices, obtaining permits, paying fees, obtaining certificates of satisfactory completion issued by a local authority where required | 1 | Item
| Allow for testing the installations | 1 | Item
| Allow for sterilising the installations | 1 | Item
| Allow for marking pipes with paint, colour bands, tags, plates, badges or lettering for identification purposes, or with arrows for indicating directions of flow for each type of installation | 1 | Item
| Allow for providing samples of materials or finishes as required | 1 | Item
| Allow for protecting finished surfaces | 1 | Item
| Allow for costs of complying with statutory regulations | 1 | Item
| Allow for the disconnection removal and/or diversion of existing hydraulic services as necessary | 1 | Item
| Allow for warranties | 1 | Item
| HYDRAULIC SERVICES |  | Head1
| Allow for Hydraulic Services | 1 | Item
| TOTAL Hydraulic Services |  |  |  | 0
FIRE SERVICES
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Excavation including removal of spoil |  | Note
| Plant and equipment, piping, wiring, connections and ancillary items |  | Note
| Testing and commissioning |  | Note
| Documentation, operating instructions and maintenance manuals |  | Note
| Co-ordination with other engineering installations |  | Note
| Complying with all statutory regulations |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for providing samples of materials or finishes as required | 1 | Item
| Allow for protecting finished surfaces | 1 | Item
| Allow for costs of complying with statutory regulations | 1 | Item
| Allow for paying all fees, inspections and the like | 1 | Item
| Allow for warranties | 1 | Item
| Allow for staff training | 1 | Item
| FIRE SERVICES |  | Head1
| Allow for Wet Fire Services | 1 | Item
| Allow for Dry Fire Services | 1 | Item
| TOTAL Fire Services |  |  |  | 0
MECHANICAL SERVICES
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices for shall include for: |  | Head2
| Plant and equipment, ductwork, registers, wiring, connections and ancillary items |  | Note
| Testing and commissioning |  | Note
| Documentation, operating instructions and maintenance manuals |  | Note
| Co-ordination with other engineering installations |  | Note
| Complying with all statutory regulations |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for providing samples of materials or finishes as required | 1 | Item
| Allow for protecting finished surfaces | 1 | Item
| Allow for costs of complying with statutory regulations | 1 | Item
| Allow for paying all fees, inspections and the like | 1 | Item
| Allow for warranties | 1 | Item
| MECHANICAL SERVICES |  | Head1
| Allow for Mechanical Services | 1 | Item
| TOTAL Mechanical Services |  |  |  | 0
ELECTRICAL SERVICES
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices for shall include for: |  | Head2
| Excavation including removal of spoil |  | Note
| Plant and equipment, wiring, connections and ancillary items |  | Note
| Testing and commissioning |  | Note
| Documentation, operating instructions and maintenance manuals |  | Note
| Co-ordination with other engineering installations |  | Note
| Complying with all statutory regulations |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for complying with relevant acts, by laws and statutory regulations | 1 | Item
| Allow for giving notices, obtaining permits and completion certificates, paying all fees and charges | 1 | Item
| Allow for testing | 1 | Item
| Allow for providing samples of materials or finishes as required | 1 | Item
| Allow for providing as built documentation | 1 | Item
| Allow for protecting finished surfaces | 1 | Item
| Allow for warranties | 1 | Item
| ELECTRICAL SERVICES |  | Head1
| Allow for Electrical Services | 1 | Item
| TOTAL Electrical Services |  |  |  | 0
LIFT SERVICES
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Plant, equipment, commissioning, testing, wiring, connections and ancillary items |  | Note
| Complying with all statutory regulations |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for costs of complying with statutory regulations | 1 | Item
| Allow for paying all fees, inspections and the like | 1 | Item
| Allow for warranties | 1 | Item
| TOTAL Lift Services |  |  |  | 0
EXTERNAL WORKS
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings. |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Getting out |  | Note
| Keeping sides plumb and to shape |  | Note
| Backfilling |  | Note
| Ramming solid |  | Note
| Loading and disposal of surplus spoil |  | Note
| All double handling required |  | Note
| The Contractor is deemed to have included for material as found |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for complying with relevant Acts, By-laws and regulations relating to excavation, planking and strutting | 1 | Item
| Allow for testing | 1 | Item
| Allow for providing samples and sample panels of materials or finishes | 1 | Item
| Allow for contractor's submissions | 1 | Item
| Allow for keeping excavation free from rain and percolating water by pumping, bailing and other means | 1 | Item
| Allow for protecting finished surfaces from damage and cleaning on completion | 1 | Item
| Allow for concrete pumping here or in rates applied | 1 | Item
| TOTAL External Works |  |  |  | 0
PRELIMINARIES
| PRELIMINARIES |  | Head1
| Allow for Preliminaries and Supervision | 1 | Item
endh1
| TOTAL Preliminaries |  |  |  | 0
HANDOVER, COMMISSIONING AND COMPLETION DOCUMENTATION
| HANDOVER, COMMISSIONING AND COMPLETION DOCUMENTATION |  | Head1
| Allow for Handover, Commissioning and Completion Documentation | 1 | Item
endh1
| TOTAL Handover, Commissioning and Completion Documentation |  |  |  | 0
MARGIN
| MARGIN |  | Head1
| Allow for builders margin | 1 | Item
endh1
| TOTAL Margin |  |  |  | 0
GROSS BUILDING AREAS
| DEFINITIONS |  | Head1
| Gross building areas |  | Head2
| The sum of the 'Fully Enclosed Covered Area' and other practical functional areas. |  | Note
| Unit of Measurement: Square Metres (m2) |  | Note
| Fully enclosed covered area (FECA) |  | Head2
| As defined by Australian Institute of Quantity Surveyors |  | Note
| The sum of all such areas at all building floor levels, including basements (except unexcavated portions), floored roof spaced and attics, garages, penthouses, enclosed porches and attached enclosed covered ways alongside buildings, equipment rooms, lift shafts, vertical ducts, staircases and any other fully enclosed spaces and usable areas of the building, computed by measuring from the normal inside face of exterior walls but ignoring any projections such as plinths, columns, piers and the like which project form the normal inside face of exterior walls. |  | Note
| It shall not include open courts, light wells, connecting or isolated covered ways and net open areas of upper portions of rooms, lobbies, halls, interstitial space and the like which extend through the storey being computed. |  | Note
| Unit of Measurement: Square Metres (m2) |  | Note
| Other practical functional building areas |  | Head2
| Areas of the project externally to FECA that may have usefulness to the tenderer in bulk checking and cost analysis |  | Note
| Unenclosed covered areas (UCA) as defined by the Australian Institute of Quantity Surveyors has not been measured, instead a more practical measurement approach has been adopted such as total areas of balconies, areas under awnings, porte cocheres and the like |  | Note
| Unit of Measurement: Square Metres (m2) |  | Note
| GROSS FLOOR AREA MEASUREMENT |  | Head1
| A measurement of the GFA has been included for the use of tenderers. No costing of these quantities is required for the tender submission |  | Note
| TOTAL Gross Building Areas |  |  |  | 0
DINCEL WALL SYSTEM/AFS WALL
| GENERALLY |  | Head1
| Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
| This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
| Square cutting and waste |  | Note
| Reinforcement |  | Note
| Surface finishes |  | Note
| Fittings or items cast into units |  | Note
| Temporary propping and bracing |  | Note
| All costs associated with off-site manufacture and transport |  | Note
| Forming all openings, machine cutting, cutting to form bond, cutting to form chases for edges of floor slabs |  | Note
| Forming reveals including pointing and cleaning down |  | Note
| Plumbing reveals and angles |  | Note
| Building in of frames, flashings, dampproof course, ties, lintels, structural steel framework and the like |  | Note
| Raking out joints for applied finishes |  | Note
| Keeping cavities clear of mortar droppings |  | Note
| Forming weepholes |  | Note
| Building in or cutting holes for pipes, handrails, cramps, steel ties sections and the like |  | Note
| Making good and protecting finished surfaces |  | Note
| Cleaning down |  | Note
| Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
| Allow for giving notice of and providing facilities for inspection | 1 | Item
| Allow for shop drawings and other submissions | 1 | Item
| Allow for required design work | 1 | Item
| Allow for providing samples, sample units, panels and sample surface finishes | 1 | Item
| Allow for all testing in accordance with Engineers and Architects requirements | 1 | Item
| Allow for prototype assembly if required | 1 | Item
| Allow for marking and certification of manufactured products | 1 | Item
| Allow for any necessary additional reinforcement or strong backs for temporary strengthening during lifting | 1 | Item
| Allow for any recessed cast-in eyes, lugs and the like as required for lifting including infilling on completion | 1 | Item
| Allow for curing in accordance with engineers requirements | 1 | Item
| Allow for protecting during manufacture and storage | 1 | Item
| Allow for protecting and cleaning on completion of installation | 1 | Item
| Allow for providing dowel location templates | 1 | Item
| Allow for compliance with quality assurance requirements | 1 | Item
| Allow for data submissions | 1 | Item
| Allow for warranties | 1 | Item
| Allow for attending on and making good after all other trades, cutting out, forming all chases, grooves and holes building in all pipes, sleeves, anchor, bolts, lugs, fixings etc as required, replacing defective bricks, pointing up all faulty joints, holes and dressing and making good damaged or defective work | 1 | Item
| TOTAL Dincel Wall System/AFS Wall |  |  |  | 0
TOTAL FOR BUILDING