## Sheet1
| GENERALLY |  | Head1
F/1 | Tenderers are referred to the Specification for the full particulars of workmanship and materials, and the quantities herein provided shall be read in conjunction with the drawings |  | Note
F/2 | This Builders Bill of Quantities has not been measured in accordance with the Australian Standard Method of Measurement of Building Works, 5th Edition |  | Note
| REFERENCES |  | Head1
F/3 | Refer to General Materials, Finishes and Fixtures Schedule for William Clarke College Bryson Building dated 05 April 2024 by PMDL Architecture + Design |  | Note
F/4 | Refer to following structural drawing series: SA to SJ for "Structural Plan" |  | Note
| PRICES |  | Head1
| Prices shall include for: |  | Head2
F/5 | Mixing, handling, hoisting, placing in position and compacting |  | Note
F/6 | Pour joints / construction joints not detailed by engineer OR shown on drawings but not requiring formwork or jointing materials (e.g. between slab/footing and base of column/wall), including any associated scabbling |  | Note
F/7 | Forming falls and/or crossfalls for drainage other than indicated below as detailed |  | Note
F/8 | Making good after removal of formwork all holes for pipes, conduits and the like and casting in ends of angle brackets, lugs, frames and the like |  | Note
F/9 | Additional concrete required to conform to structural and excavated tolerances |  | Note
F/10 | Environmental and sustainable requirements detailed in the Tender documents (if any) |  | Note
| GENERAL ITEMS |  | Head1
F/11 | Allow for approval of foundation material bearing capacity by the consulting Geotechnical Engineer prior to placement of concrete | 1 | Item
F/12 | Allow for giving notice of and providing facilities for inspection | 1 | Item
F/13 | Allow for compliance with quality assurance requirements | 1 | Item
F/14 | Allow for all testing in accordance with Engineers requirements | 1 | Item
F/15 | Allow for providing samples and sample panels of materials or finishes | 1 | Item
F/16 | Allow for contractor's submissions | 1 | Item
F/17 | Allow for protecting finished surfaces from damage and cleaning on completion | 1 | Item
F/18 | Allow for coordination with and attendance upon other trades for embedded items and other works associated with Concrete | 1 | Item
F/19 | Allow for concrete pumping and pump visits | 1 | Item
F/20 | Allow for concrete testing | 1 | Item
F/21 | Allow for guarantees | 1 | Item
| NOTES AND ASSUMPTIONS |  | Head1
F/22 | All slabs measured in full thickness |  | Note
F/23 | No concrete strength provided for mass concrete downturn, assumed to be 50Mpa. Refer to SB.13 for location |  | Note
F/24 | Measured construction joints to bored piers under slabs and under RC columns |  | Note
F/25 | Assumed beam sizes for beam tag L2-B1, B2, B4 |  | Assumption
| CONCRETE SUPPLY SUMMARY |  | Head1
F/26 | '32MPa, 80mm slump, 20mm max. aggregate size | #NAME? | m3
F/27 | '40MPa, 80mm slump, 20mm max. aggregate size | #NAME? | m3
F/28 | '40MPa, 80mm slump, 20mm max. aggregate size to post-tensioned slab and beams | #NAME? | m3
F/29 | '50MPa, 80mm slump, 20mm max. aggregate size | #NAME? | m3
F/30 | Xypex admixture to lift pit base and walls | #NAME? | m3
| NORTH BUILDING |  | Head1
| Insitu Concrete |  | Head2
| Pile Cap Footing (50MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Foundation (SB.01) |  | Head4
F/31 | PC1 - 3600 x 1200 x 1200mm deep pile cap | #NAME? | m3
F/32 | PC2 - 3600 x 1200 x 1400mm deep pile cap | #NAME? | m3
| Mass Concrete Downturn (50MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Foundation (SB.01) |  | Head4
F/33 | Provide 600 x 500 mass concrete downturn onto lift base to support edge beam | #NAME? | m3
| Ground Beam (32Mpa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Foundation (SB.01) |  | Head4
F/34 | EB-A 600 x 600mm edge ground beam with rebate | #NAME? | m3
F/35 | FB-A 600 x 600mm internal ground beam | #NAME? | m3
F/36 | FB-B 900 x 600mm internal ground beam | #NAME? | m3
F/37 | FB-C 1200 x 600mm internal ground beam | #NAME? | m3
F/38 | IB-A 600 x 600mm internal ground beam | #NAME? | m3
F/39 | IB-B 450 x 600mm internal ground beam | #NAME? | m3
| Base Slab on Ground (32Mpa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Foundation (SB.01) |  | Head4
F/40 | '600mm thick Lift pit base slab | #NAME? | m3
F/41 | '600mm thick Stair base slab | #NAME? | m3
F/42 | '40mm thick integral fall to 600mm thick Base Slab | #NAME? | m3
| Concrete Walls (50MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| External Concrete Wall |  | Head4
F/43 | Level 1 (SC.01) |  | Head5
F/44 | W3 - 300mm thick external wall | #NAME? | m3
F/45 | Level 2 (SG.01) |  | Head5
F/46 | W9 - 200mm thick external wall | #NAME? | m3
F/47 | Level 3 (SH.01) |  | Head5
F/48 | W9 - 200mm thick external wall | #NAME? | m3
F/49 | Level 4 (SI.01) |  | Head5
F/50 | W9 - 200mm thick external wall | #NAME? | m3
| Internal Concrete Wall |  | Head4
F/51 | Foundation (SB.01) |  | Head5
F/52 | W1 - 200mm thick lift pit wall | #NAME? | m3
F/53 | W9 - 200mm thick lift pit wall | #NAME? | m3
F/54 | Level 1 (SC.01) |  | Head5
F/55 | W1 - 200mm thick core wall | #NAME? | m3
F/56 | W2 - 200mm thick core wall | #NAME? | m3
F/57 | W3 - 300mm thick core wall | #NAME? | m3
F/58 | W5 - 300mm thick core wall | #NAME? | m3
F/59 | W9 - 200mm thick core wall | #NAME? | m3
F/60 | W2 - 200mm thick internal wall | #NAME? | m3
F/61 | W9 - 200mm thick internal wall | #NAME? | m3
F/62 | Level 2 (SG.01) |  | Head5
F/63 | W1 - 200mm thick core wall | #NAME? | m3
F/64 | W3 - 300mm thick core wall | #NAME? | m3
F/65 | W9 - 200mm thick core wall | #NAME? | m3
F/66 | W9 - 200mm thick internal wall | #NAME? | m3
F/67 | Level 3 (SH.01) |  | Head5
F/68 | W2 - 200mm thick core wall | #NAME? | m3
F/69 | W3 - 300mm thick core wall | #NAME? | m3
F/70 | W9 - 200mm thick core wall | #NAME? | m3
F/71 | W9 - 200mm thick internal wall | #NAME? | m3
F/72 | Level 4 (SI.01) |  | Head5
F/73 | W2 - 200mm thick core wall | #NAME? | m3
F/74 | W3 - 300mm thick core wall | #NAME? | m3
F/75 | W9 - 200mm thick internal wall | #NAME? | m3
| Concrete Walls (32MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| External Concrete Wall |  | Head4
F/76 | Level 4 (SI.01) |  | Head5
F/77 | W8 - 150mm thick external parapet wall | #NAME? | m3
| Internal Concrete Wall |  | Head4
F/78 | Level 4 (SI.01) |  | Head5
F/79 | W7 - 200mm thick internal wall | #NAME? | m3
| Columns (50MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Level 1 (SC.01) |  | Head4
F/80 | CC1 - 400x700mm deep concrete column | #NAME? | m3
F/81 | CC10 - 500x500mm deep concrete column | #NAME? | m3
F/82 | CC11 - 400x600mm deep concrete column | #NAME? | m3
F/83 | CC12 - 400x700mm deep concrete column | #NAME? | m3
F/84 | CC13 - 400x700mm deep concrete column | #NAME? | m3
F/85 | CC14 - 450x450mm deep concrete column | #NAME? | m3
F/86 | CC15 - 400x700mm deep concrete column | #NAME? | m3
F/87 | CC16 - 500x500mm deep concrete column | #NAME? | m3
F/88 | CC17 - 400x700mm deep concrete column | #NAME? | m3
F/89 | CC18 - 400x700mm deep concrete column | #NAME? | m3
F/90 | CC19 - 400x700mm deep concrete column | #NAME? | m3
F/91 | CC2 - 400x700mm deep concrete column | #NAME? | m3
F/92 | CC20 - 450x450mm deep concrete column | #NAME? | m3
F/93 | CC21 - 450x450mm deep concrete column | #NAME? | m3
F/94 | CC22 - 400x700mm deep concrete column | #NAME? | m3
F/95 | CC23 - 400x700mm deep concrete column | #NAME? | m3
F/96 | CC24 - 400x600mm deep concrete column | #NAME? | m3
F/97 | CC25 - 400x600mm deep concrete column | #NAME? | m3
F/98 | CC26 - 400x700mm deep concrete column | #NAME? | m3
F/99 | CC27 - 400x700mm deep concrete column | #NAME? | m3
F/100 | CC28 - 450x450mm deep concrete column | #NAME? | m3
F/101 | CC29 - 450x450mm deep concrete column | #NAME? | m3
F/102 | CC3 - 400x700mm deep concrete column | #NAME? | m3
F/103 | CC30 - 500mm diameter concrete column | #NAME? | m3
F/104 | CC31 - 500mm diameter concrete column | #NAME? | m3
F/105 | CC32 - 500mm diameter concrete column | #NAME? | m3
F/106 | CC33 - 500mm diameter concrete column | #NAME? | m3
F/107 | CC4 - 400x700mm deep concrete column | #NAME? | m3
F/108 | CC5 - 400x700mm deep concrete column | #NAME? | m3
F/109 | CC6 - 400x700mm deep concrete column | #NAME? | m3
F/110 | CC7 - 300x800mm deep concrete column | #NAME? | m3
F/111 | CC8 - 300x800mm deep concrete column | #NAME? | m3
F/112 | CC9 - 400x700mm deep concrete column | #NAME? | m3
| Level 2 (SG.01) |  | Head4
F/113 | CC1 - 800x400mm deep concrete column | #NAME? | m3
F/114 | CC10 - 400x600mm deep concrete column | #NAME? | m3
F/115 | CC11a - 400x600mm deep concrete column | #NAME? | m3
F/116 | CC12 - 400x600mm deep concrete column | #NAME? | m3
F/117 | CC13 - 400x600mm deep concrete column | #NAME? | m3
F/118 | CC15 - 800x400mm deep concrete column | #NAME? | m3
F/119 | CC16 - 800x400mm deep concrete column | #NAME? | m3
F/120 | CC17 - 400x600mm deep concrete column | #NAME? | m3
F/121 | CC18 - 400x600mm deep concrete column | #NAME? | m3
F/122 | CC19 - 400x600mm deep concrete column | #NAME? | m3
F/123 | CC22 - 800x400mm deep concrete column | #NAME? | m3
F/124 | CC23 - 800x400mm deep concrete column | #NAME? | m3
F/125 | CC24 - 400x600mm deep concrete column | #NAME? | m3
F/126 | CC25 - 400x600mm deep concrete column | #NAME? | m3
F/127 | CC26 - 800x400mm deep concrete column | #NAME? | m3
F/128 | CC27 - 400x600mm deep concrete column | #NAME? | m3
F/129 | CC29 - 400x600mm deep concrete column | #NAME? | m3
F/130 | CC3 - 800x400mm deep concrete column | #NAME? | m3
F/131 | CC4 - 800x400mm deep concrete column | #NAME? | m3
F/132 | CC5 - 800x400mm deep concrete column | #NAME? | m3
F/133 | CC6 - 800x400mm deep concrete column | #NAME? | m3
F/134 | CC61 - 800x400mm deep concrete column | #NAME? | m3
F/135 | CC66 - 400x600mm deep concrete column | #NAME? | m3
F/136 | CC67 - 400x600mm deep concrete column | #NAME? | m3
F/137 | CC68 - 400x600mm deep concrete column | #NAME? | m3
F/138 | CC69 - 400x600mm deep concrete column | #NAME? | m3
F/139 | CC73 - 400x600mm deep concrete column | #NAME? | m3
F/140 | CC9 - 800x400mm deep concrete column | #NAME? | m3
| Level 3 (SH.01) |  | Head4
F/141 | CC1 - 800x400mm deep concrete column | #NAME? | m3
F/142 | CC10 - 450x450mm deep concrete column | #NAME? | m3
F/143 | CC11a - 400x600mm deep concrete column | #NAME? | m3
F/144 | CC12 - 400x600mm deep concrete column | #NAME? | m3
F/145 | CC13 - 400x600mm deep concrete column | #NAME? | m3
F/146 | CC15 - 800x400mm deep concrete column | #NAME? | m3
F/147 | CC16 - 800x400mm deep concrete column | #NAME? | m3
F/148 | CC17 - 400x600mm deep concrete column | #NAME? | m3
F/149 | CC18 - 400x600mm deep concrete column | #NAME? | m3
F/150 | CC19 - 400x600mm deep concrete column | #NAME? | m3
F/151 | CC22 - 800x400mm deep concrete column | #NAME? | m3
F/152 | CC23 - 800x400mm deep concrete column | #NAME? | m3
F/153 | CC24 - 400x600mm deep concrete column | #NAME? | m3
F/154 | CC25 - 400x600mm deep concrete column | #NAME? | m3
F/155 | CC26 - 800x400mm deep concrete column | #NAME? | m3
F/156 | CC27 - 400x600mm deep concrete column | #NAME? | m3
F/157 | CC29 - 400x600mm deep concrete column | #NAME? | m3
F/158 | CC3 - 800x400mm deep concrete column | #NAME? | m3
F/159 | CC4 - 800x400mm deep concrete column | #NAME? | m3
F/160 | CC5 - 800x400mm deep concrete column | #NAME? | m3
F/161 | CC6 - 800x400mm deep concrete column | #NAME? | m3
F/162 | CC61 - 800x400mm deep concrete column | #NAME? | m3
F/163 | CC66 - 400x600mm deep concrete column | #NAME? | m3
F/164 | CC67 - 400x600mm deep concrete column | #NAME? | m3
F/165 | CC68 - 400x600mm deep concrete column | #NAME? | m3
F/166 | CC69 - 400x600mm deep concrete column | #NAME? | m3
F/167 | CC73 - 400x600mm deep concrete column | #NAME? | m3
F/168 | CC9 - 800x400mm deep concrete column | #NAME? | m3
| Level 4 (SI.01) |  | Head4
F/169 | CC17 - 300x500mm deep concrete column | #NAME? | m3
F/170 | CC24 - 300x500mm deep concrete column | #NAME? | m3
F/171 | CC25 - 300x500mm deep concrete column | #NAME? | m3
F/172 | CC66 - 300x500mm deep concrete column | #NAME? | m3
F/173 | CC82 - 300x500mm deep concrete column | #NAME? | m3
F/174 | CC83 - 300x500mm deep concrete column | #NAME? | m3
F/175 | CC84 - 400x400mm deep concrete column | #NAME? | m3
F/176 | CC85 - 400x400mm deep concrete column | #NAME? | m3
F/177 | CC86 - 400x400mm deep concrete column | #NAME? | m3
F/178 | CC87 - 400x400mm deep concrete column | #NAME? | m3
F/179 | CC88 - 400x400mm deep concrete column | #NAME? | m3
F/180 | CC89 - 300x500mm deep concrete column | #NAME? | m3
F/181 | CC90 - 300x500mm deep concrete column | #NAME? | m3
F/182 | CC91 - 400x400mm deep concrete column | #NAME? | m3
F/183 | CC92 - 400x400mm deep concrete column | #NAME? | m3
F/184 | CC93 - 400x400mm deep concrete column | #NAME? | m3
F/185 | CC94 - 300x500mm deep concrete column | #NAME? | m3
F/186 | CC95 - 300x500mm deep concrete column | #NAME? | m3
F/187 | CC96 - 300x500mm deep concrete column | #NAME? | m3
| Suspended Slab on Piers (32Mpa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Level 1 (SC.01) |  | Head4
F/188 | '160mm thick Suspended slab on piers | #NAME? | m3
| Suspended Slab (40MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Level 2 (SG.01) |  | Head4
F/189 | '200mm thick Suspended slab | #NAME? | m3
F/190 | '200mm thick Post tensioned slab | #NAME? | m3
F/191 | '400mm thick Post tensioned slab | #NAME? | m3
F/192 | '40mm thick integral fall to 200mm thick suspended slab | #NAME? | m3
F/193 | '40mm thick integral fall to 400mm thick Post tensioned slab | #NAME? | m3
F/194 | '600mm wide slab fold | #NAME? | m3
F/195 | Extra over labour for setdown | #NAME? | m2
| Level 3 (SH.01) |  | Head4
F/196 | '200mm thick Suspended slab | #NAME? | m3
F/197 | '200mm thick Post tensioned slab | #NAME? | m3
F/198 | '250mm thick Post tensioned slab | #NAME? | m3
F/199 | '400mm thick Post tensioned slab | #NAME? | m3
F/200 | '40mm thick integral fall to 250mm thick PT slab | #NAME? | m3
F/201 | '40mm thick integral fall to 400mm thick PT slab | #NAME? | m3
F/202 | '600mm wide slab fold | #NAME? | m3
F/203 | Extra over labour for setdown | #NAME? | m2
| Level 4 (SI.01) |  | Head4
F/204 | '200mm thick Suspended slab | #NAME? | m3
F/205 | '200mm thick Post tensioned slab | #NAME? | m3
F/206 | '300mm thick Post tensioned slab | #NAME? | m3
F/207 | '400mm thick Post tensioned slab | #NAME? | m3
F/208 | '40mm thick integral fall to 300mm thick PT slab | #NAME? | m3
F/209 | '600mm wide slab fold | #NAME? | m3
F/210 | Extra over labour for setdown | #NAME? | m2
| Roof (SJ.01) |  | Head4
F/211 | '200mm thick Suspended slab | #NAME? | m3
F/212 | '40mm thick integral fall to 200mm thick suspended slab | #NAME? | m3
| Attached Beams (40MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Level 2 (SG.01) |  | Head4
F/213 | '650 x 400mm deep post tensioned beam | #NAME? | m3
F/214 | '900 x 450mm deep post tensioned beam | #NAME? | m3
F/215 | '900 x 550mm deep post tensioned beam | #NAME? | m3
F/216 | '900 x 850mm deep post tensioned beam | #NAME? | m3
F/217 | '940 x 550mm deep post tensioned beam | #NAME? | m3
F/218 | '1350 x 550mm deep post tensioned beam | #NAME? | m3
F/219 | '1604 x 450mm deep post tensioned beam | #NAME? | m3
F/220 | '1800 x 450mm deep post tensioned beam | #NAME? | m3
F/221 | '1800 x 550mm deep post tensioned beam | #NAME? | m3
F/222 | '1800 x 850mm deep post tensioned beam | #NAME? | m3
F/223 | '2145 x 450mm deep post tensioned beam | #NAME? | m3
F/224 | '2145 x 850mm deep post tensioned beam | #NAME? | m3
F/225 | '2350 x 450mm deep post tensioned beam | #NAME? | m3
F/226 | '2376 x 450mm deep post tensioned beam | #NAME? | m3
F/227 | '2400 x 450mm deep post tensioned beam | #NAME? | m3
F/228 | '2400 x 550mm deep post tensioned beam | #NAME? | m3
| Level 3 (SH.01) |  | Head4
F/229 | '900 x 450mm deep post tensioned beam | #NAME? | m3
F/230 | '900 x 550mm deep post tensioned beam | #NAME? | m3
F/231 | '940 x 450mm deep post tensioned beam | #NAME? | m3
F/232 | '1090 x 450mm deep post tensioned beam | #NAME? | m3
F/233 | '1800 x 450mm deep post tensioned beam | #NAME? | m3
F/234 | '1800 x 550mm deep post tensioned beam | #NAME? | m3
F/235 | '1810 x 450mm deep post tensioned beam | #NAME? | m3
F/236 | '2145 x 450mm deep post tensioned beam | #NAME? | m3
F/237 | '2350 x 450mm deep post tensioned beam | #NAME? | m3
F/238 | '2376 x 450mm deep post tensioned beam | #NAME? | m3
| Level 4 (SI.01) |  | Head4
F/239 | '900 x 450mm deep post tensioned beam | #NAME? | m3
F/240 | '900 x 550mm deep post tensioned beam | #NAME? | m3
F/241 | '940 x 450mm deep post tensioned beam | #NAME? | m3
F/242 | '1128 x 550mm deep post tensioned beam | #NAME? | m3
F/243 | '1800 x 450mm deep post tensioned beam | #NAME? | m3
F/244 | '1800 x 550mm deep post tensioned beam | #NAME? | m3
F/245 | '1800 x 600mm deep post tensioned beam | #NAME? | m3
F/246 | '2000 x 450mm deep post tensioned beam | #NAME? | m3
F/247 | '2145 x 450mm deep post tensioned beam | #NAME? | m3
F/248 | '2350 x 450mm deep post tensioned beam | #NAME? | m3
F/249 | '2376 x 450mm deep post tensioned beam | #NAME? | m3
| Concrete Stair (40MPa, 80mm slump, 20mm max. aggregate size) |  | Head2
F/250 | Stair 2 - 1700mm to 1900mm width concrete stair with 280mm treads, 200mm throat thickness, 180mm to 183.35mm riser height with 7 flights and 4 midlandings | #NAME? | m3
F/251 | Stair 3 - 2820mm width concrete stair with 280mm treads, 250mm throat thickness, 161.80mm to 163.65mm riser height with 9 flights and 5 midlandings | #NAME? | m3
F/252 | Stair 4 - 1020mm width concrete stair with 250mm treads, 245mm throat thickness, 166.7mm to 180mm riser height with 8 flights and 8 midlandings | #NAME? | m3
| Sundries |  | Head2
| Concrete curing of slab in accordance with engineers requirements |  | Head3
F/253 | Slab on ground | #NAME? | m2
F/254 | Suspended slab | #NAME? | m2
F/255 | Stair treads and Landing | #NAME? | m2
| Integral surface finishes as required |  | Head3
F/256 | Machine Float Finish (NB: Assumed to general slab) | #NAME? | m2
F/257 | Broom Finish (NB: Assumed to external slab) | #NAME? | m2
F/258 | Wood Float Finish (NB: Assumed to tiled areas) | #NAME? | m2
| Wood Float Finish to Stair thread and landings |  | Head4
F/259 | Stair Treads | #NAME? | m
F/260 | Stair Landings | #NAME? | m2
| Honed Concrete Finish to western stair thread and landings |  | Head4
F/261 | Stair Treads | #NAME? | m
F/262 | Stair Landings | #NAME? | m2
| Miscellaneous Items |  | Head3
F/263 | Vertical layer of highly permeable crushed rock granular material minimum width 300mm - typical | #NAME? | m2
F/264 | SikaSwell-A 2010M swelling waterstop | #NAME? | m2
F/265 | '100mm diameter PVC subsoil drainage pipe with filter fabric sock | #NAME? | m
F/266 | Graded blue metal aggregate filter | #NAME? | m2
| Joints and Associated Items |  | Head2
F/267 | '20mm compressible joint filler with 'Parchem Flamex PU' fire sealant and backing rod. Expansion joint, EJ | #NAME? | m
F/268 | Ancon DSDQ50 shear load connectors | #NAME? | no
F/269 | Parchem Nitobond EP bonding agent, construction joint, CJ | #NAME? | m
| Blinding Layer and Concrete Underlay |  | Head2
F/270 | '50mm thick sand blinding under slab on ground | #NAME? | m2
F/271 | TERM-01 - Kordon TMB termite and moisture under slab of ground and sides of footings | #NAME? | m2
| SOUTH BUILDING |  | Head1
| Insitu Concrete |  | Head2
| Pile Cap Footing (50MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Foundation (SB.02) |  | Head4
F/272 | PC1 - 3600 x 1200 x 1200mm deep pile cap | #NAME? | m3
F/273 | PC2 - 3600 x 1200 x 1400mm deep pile cap | #NAME? | m3
| Ground Beam (32Mpa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Foundation (SB.02) |  | Head4
F/274 | FB-A 600 x 600mm internal ground beam | #NAME? | m3
F/275 | FB-B 900 x 600mm internal ground beam | #NAME? | m3
F/276 | FB-C 1200 x 600mm internal ground beam | #NAME? | m3
F/277 | FB-D 450 x 600mm internal ground beam | #NAME? | m3
| Base Slab on Ground (32Mpa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Foundation (SB.02) |  | Head4
F/278 | '600mm thick Lift pit base slab | #NAME? | m3
F/279 | '40mm thick integral fall to 600mm thick Base Slab | #NAME? | m3
| Concrete Walls (50MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| External Concrete Wall |  | Head4
F/280 | Foundation (SB.02) |  | Head5
F/281 | W4 - 250mm thick external wall | #NAME? | m3
F/282 | Level 1 (SC.02) |  | Head5
F/283 | W4 - 250mm thick external wall | #NAME? | m3
F/284 | Level 2 (SG.02) |  | Head5
F/285 | '250mm thick external wall | #NAME? | m3
F/286 | Level 4 (SI.02) |  | Head5
F/287 | W5 - 300mm thick external wall | #NAME? | m3
| Internal Concrete Wall |  | Head4
F/288 | Foundation (SB.02) |  | Head5
F/289 | W2 - 200mm thick lift pit wall | #NAME? | m3
F/290 | Level 1 (SC.02) |  | Head5
F/291 | W2 - 200mm thick core wall | #NAME? | m3
F/292 | W5 - 300mm thick core wall | #NAME? | m3
F/293 | W2 - 200mm thick internal wall | #NAME? | m3
F/294 | W6 - 300mm thick internal wall | #NAME? | m3
F/295 | Level 2 (SG.02) |  | Head5
F/296 | W2 - 200mm thick core wall | #NAME? | m3
F/297 | W6 - 300mm thick internal wall | #NAME? | m3
F/298 | Level 3 (SH.02) |  | Head5
F/299 | W2 - 200mm thick core wall | #NAME? | m3
F/300 | W6 - 300mm thick internal wall | #NAME? | m3
F/301 | Level 4 (SI.02) |  | Head5
F/302 | W2 - 200mm thick core wall | #NAME? | m3
| Concrete Walls (32MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| External Concrete Wall |  | Head4
F/303 | Level 4 (SI.02) |  | Head5
F/304 | W8 - 150mm thick external parapet wall | #NAME? | m3
| Columns (50MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Level 1 (SC.02) |  | Head4
F/305 | CC34 - 400x700mm deep concrete column | #NAME? | m3
F/306 | CC35 - 400x700mm deep concrete column | #NAME? | m3
F/307 | CC36 - 400x700mm deep concrete column | #NAME? | m3
F/308 | CC37 - 400x600mm deep concrete column | #NAME? | m3
F/309 | CC38 - 400x600mm deep concrete column | #NAME? | m3
F/310 | CC39 - 400x600mm deep concrete column | #NAME? | m3
F/311 | CC40 - 400x600mm deep concrete column | #NAME? | m3
F/312 | CC41 - 450x450mm deep concrete column | #NAME? | m3
F/313 | CC42 - 400x600mm deep concrete column | #NAME? | m3
F/314 | CC43 - 400x600mm deep concrete column | #NAME? | m3
F/315 | CC44 - 500mm diameter concrete column | #NAME? | m3
F/316 | CC45 - 400x600mm deep concrete column | #NAME? | m3
F/317 | CC46 - 450x450mm deep concrete column | #NAME? | m3
F/318 | CC47 - 400x600mm deep concrete column | #NAME? | m3
F/319 | CC48 - 450x450mm deep concrete column | #NAME? | m3
F/320 | CC49 - 400x600mm deep concrete column | #NAME? | m3
F/321 | CC50 - 400x600mm deep concrete column | #NAME? | m3
F/322 | CC51 - 400x600mm deep concrete column | #NAME? | m3
F/323 | CC52 - 450x450mm deep concrete column | #NAME? | m3
F/324 | CC53 - 450x450mm deep concrete column | #NAME? | m3
F/325 | CC54 - 450x450mm deep concrete column | #NAME? | m3
F/326 | CC55 - 400x600mm deep concrete column | #NAME? | m3
F/327 | CC56 - 400x600mm deep concrete column | #NAME? | m3
F/328 | CC57 - 400x600mm deep concrete column | #NAME? | m3
F/329 | CC58 - 400x1600mm deep concrete column | #NAME? | m3
F/330 | CC59 - 400x400mm deep concrete column | #NAME? | m3
F/331 | CC76 - 400x700mm deep concrete column | #NAME? | m3
| Level 2 (SG.02) |  | Head4
F/332 | CC34 - 400x600mm deep concrete column | #NAME? | m3
F/333 | CC35 - 800x400mm deep concrete column | #NAME? | m3
F/334 | CC36 - 800x400mm deep concrete column | #NAME? | m3
F/335 | CC39 - 400x600mm deep concrete column | #NAME? | m3
F/336 | CC43 - 400x600mm deep concrete column | #NAME? | m3
F/337 | CC44 - 400x600mm deep concrete column | #NAME? | m3
F/338 | CC47 - 400x600mm deep concrete column | #NAME? | m3
F/339 | CC48 - 400x600mm deep concrete column | #NAME? | m3
F/340 | CC49 - 400x600mm deep concrete column | #NAME? | m3
F/341 | CC51 - 400x600mm deep concrete column | #NAME? | m3
F/342 | CC52 - 400x600mm deep concrete column | #NAME? | m3
F/343 | CC54 - 400x600mm deep concrete column | #NAME? | m3
F/344 | CC55 - 400x600mm deep concrete column | #NAME? | m3
F/345 | CC56 - 400x600mm deep concrete column | #NAME? | m3
F/346 | CC57 - 400x600mm deep concrete column | #NAME? | m3
F/347 | CC58 - 400x1600mm deep concrete column | #NAME? | m3
F/348 | CC76 - 800x400mm deep concrete column | #NAME? | m3
F/349 | CC77 - 800x400mm deep concrete column | #NAME? | m3
F/350 | CC78 - 400x600mm deep concrete column | #NAME? | m3
F/351 | CC79 - 800x400mm deep concrete column | #NAME? | m3
F/352 | CC80 - 500mm diameter concrete column | #NAME? | m3
| Level 3 (SH.02) |  | Head4
F/353 | CC34 - 400x600mm deep concrete column | #NAME? | m3
F/354 | CC35 - 800x400mm deep concrete column | #NAME? | m3
F/355 | CC36 - 800x400mm deep concrete column | #NAME? | m3
F/356 | CC39 - 400x600mm deep concrete column | #NAME? | m3
F/357 | CC43 - 400x600mm deep concrete column | #NAME? | m3
F/358 | CC44 - 400x600mm deep concrete column | #NAME? | m3
F/359 | CC47 - 400x600mm deep concrete column | #NAME? | m3
F/360 | CC48 - 400x600mm deep concrete column | #NAME? | m3
F/361 | CC49 - 400x600mm deep concrete column | #NAME? | m3
F/362 | CC51 - 400x600mm deep concrete column | #NAME? | m3
F/363 | CC52 - 400x600mm deep concrete column | #NAME? | m3
F/364 | CC54 - 400x600mm deep concrete column | #NAME? | m3
F/365 | CC55 - 400x600mm deep concrete column | #NAME? | m3
F/366 | CC56 - 400x600mm deep concrete column | #NAME? | m3
F/367 | CC57 - 400x600mm deep concrete column | #NAME? | m3
F/368 | CC58 - 400x1600mm deep concrete column | #NAME? | m3
F/369 | CC76 - 800x400mm deep concrete column | #NAME? | m3
F/370 | CC77 - 800x400mm deep concrete column | #NAME? | m3
F/371 | CC78 - 400x600mm deep concrete column | #NAME? | m3
F/372 | CC81 - 400x600mm deep concrete column | #NAME? | m3
| Columns (32MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Level 4 (SI.02) |  | Head4
F/373 | CC100 - 300x500mm deep concrete column | #NAME? | m3
F/374 | CC97 - 300x500mm deep concrete column | #NAME? | m3
F/375 | CC98 - 300x500mm deep concrete column | #NAME? | m3
F/376 | CC99 - 300x500mm deep concrete column | #NAME? | m3
| Suspended Slab on Piers (32Mpa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Level 1 (SC.02) |  | Head4
F/377 | '160mm thick Suspended slab on piers | #NAME? | m3
| Suspended Ramp Slab (40MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Level 2 (SG.02) |  | Head4
F/378 | '200mm thick Ramp Slab | #NAME? | m3
| Suspended Slab (40MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Level 2 (SG.02) |  | Head4
F/379 | '200mm thick Suspended slab | #NAME? | m3
F/380 | '300mm thick Suspended slab | #NAME? | m3
F/381 | '200mm thick Post tensioned slab | #NAME? | m3
F/382 | '250mm thick Post tensioned slab | #NAME? | m3
F/383 | '300mm thick Post tensioned slab | #NAME? | m3
F/384 | '350mm thick Post tensioned slab | #NAME? | m3
F/385 | '40mm thick integral fall to 300mm thick suspended slab | #NAME? | m3
F/386 | '40mm thick integral fall to 200mm thick suspended slab | #NAME? | m3
F/387 | '40mm thick integral fall to 250mm thick Post tensioned slab | #NAME? | m3
F/388 | '40mm thick integral fall to 350mm thick Post tensioned slab | #NAME? | m3
F/389 | '250mm wide slab fold | #NAME? | m3
F/390 | '600mm wide slab fold | #NAME? | m3
F/391 | '100mm thick slab topping | #NAME? | m3
F/392 | Extra over labour for setdown | #NAME? | m2
| Level 3 (SH.02) |  | Head4
F/393 | '200mm thick Suspended slab | #NAME? | m3
F/394 | '200mm thick Post tensioned slab | #NAME? | m3
F/395 | '250mm thick Post tensioned slab | #NAME? | m3
F/396 | '40mm thick integral fall to 250mm thick PT slab | #NAME? | m3
F/397 | '600mm wide slab fold | #NAME? | m3
F/398 | Extra over labour for setdown | #NAME? | m2
| Level 4 (SI.02) |  | Head4
F/399 | '200mm thick Suspended slab | #NAME? | m3
F/400 | '200mm thick Post tensioned slab | #NAME? | m3
F/401 | '250mm thick Post tensioned slab | #NAME? | m3
F/402 | '600mm wide slab fold | #NAME? | m3
F/403 | Extra over labour for setdown | #NAME? | m2
| Roof (SJ.02) |  | Head4
F/404 | '200mm thick Suspended slab | #NAME? | m3
F/405 | '40mm thick integral fall to 200mm thick suspended slab | #NAME? | m3
| Attached Beams (40MPa, 80mm slump, 20mm max. aggregate size) |  | Head3
| Level 2 (SG.02) |  | Head4
F/406 | L2-B3: 400 x 1500mm deep attached RC Beam | #NAME? | m3
F/407 | L2-B5: 300 x 1500mm deep attached RC Beam | #NAME? | m3
F/408 | L2-B6: 400 x 1650mm deep attached RC Beam | #NAME? | m3
F/409 | L2-B7: 400 x 1500mm deep attached RC Beam | #NAME? | m3
F/410 | L2-B8: 400 x 592mm deep attached RC Beam | #NAME? | m3
F/411 | L2-B9: 400 x 1052mm deep attached RC Beam | #NAME? | m3
F/412 | L2-B10: 300 x 495mm deep attached RC Beam | #NAME? | m3
F/413 | L2-B1: 400 x 1052mm deep attached RC Beam (NB: Assumed beam size no details provided) | #NAME? | m3
F/414 | L2-B2: 400 x 592mm deep attached RC Beam (NB: Assumed beam size no details provided) | #NAME? | m3
F/415 | L2-B4: 400 x 592mm deep attached RC Beam (NB: Assumed beam size no details provided) | #NAME? | m3
F/416 | '900 x 450mm deep post tensioned beam | #NAME? | m3
F/417 | '1140 x 550mm deep post tensioned beam | #NAME? | m3
F/418 | '1800 x 450mm deep post tensioned beam | #NAME? | m3
F/419 | '1800 x 550mm deep post tensioned beam | #NAME? | m3
F/420 | '2000 x 550mm deep post tensioned beam | #NAME? | m3
F/421 | '2400 x 450mm deep post tensioned beam | #NAME? | m3
F/422 | '3000 x 625mm deep post tensioned beam | #NAME? | m3
| Level 3 (SH.02) |  | Head4
F/423 | '900 x 450mm deep post tensioned beam | #NAME? | m3
F/424 | '1140 x 450mm deep post tensioned beam | #NAME? | m3
F/425 | '1800 x 450mm deep post tensioned beam | #NAME? | m3
F/426 | '2000 x 450mm deep post tensioned beam | #NAME? | m3
F/427 | '2240 x 450mm deep post tensioned beam | #NAME? | m3
F/428 | '2600 x 450mm deep post tensioned beam | #NAME? | m3
| Level 4 (SI.02) |  | Head4
F/429 | '900 x 450mm deep post tensioned beam | #NAME? | m3
F/430 | '1140 x 450mm deep post tensioned beam | #NAME? | m3
F/431 | '1350 x 450mm deep post tensioned beam | #NAME? | m3
F/432 | '1800 x 450mm deep post tensioned beam | #NAME? | m3
F/433 | '2000 x 450mm deep post tensioned beam | #NAME? | m3
F/434 | '2600 x 450mm deep post tensioned beam | #NAME? | m3
| Concrete Stair (40MPa, 80mm slump, 20mm max. aggregate size) |  | Head2
F/435 | Stair 1 - 2000mm width concrete stair with 280mm treads, 200-350mm throat thickness, 172.25mm riser height with 5 flights and 3 midlandings | #NAME? | m3
F/436 | Stair 5 - 2670mm width concrete stair with 300mm treads, 250mm throat thickness, 150mm riser height with 1 flights | #NAME? | m3
F/437 | Stair 6 - 2670mm width concrete stair with 300mm treads, 250mm throat thickness, 150mm riser height with 1 flights | #NAME? | m3
F/438 | Stair 7 - 6770mm width concrete stair with 300mm treads, 240mm throat thickness, 161mm riser height with 2 flights and 1 midlandings | #NAME? | m3
| Sundries |  | Head2
| Concrete curing of slab in accordance with engineers requirements |  | Head3
F/439 | Slab on ground | #NAME? | m2
F/440 | Suspended slab | #NAME? | m2
| Ramp slab | #NAME? | m2
F/441 | Stair treads and Landing | #NAME? | m2
| Integral surface finishes as required |  | Head3
F/442 | Machine Float Finish (NB: Assumed to general slab) | #NAME? | m2
F/443 | Broom Finish (NB: Assumed to external slab) | #NAME? | m2
F/444 | Wood Float Finish (NB: Assumed to tiled areas) | #NAME? | m2
| Wood Float Finish to Stair thread and landings |  | Head4
F/445 | Stair Treads | #NAME? | m
F/446 | Stair Landings | #NAME? | m2
| Miscellaneous Items |  | Head3
F/447 | Course sand compacted in 300mm layers to surface level | #NAME? | m2
F/448 | Vertical layer of highly permeable crushed rock granular material minimum width 300mm - typical | #NAME? | m2
F/449 | SikaSwell-A 2010M swelling waterstop | #NAME? | m2
F/450 | '100mm diameter PVC subsoil drainage pipe with filter fabric sock | #NAME? | m
F/451 | Graded blue metal aggregate filter | #NAME? | m2
| Joints and Associated Items |  | Head2
F/452 | Parchem Nitobond EP bonding agent, construction joint, CJ | #NAME? | m
| Blinding Layer and Concrete Underlay |  | Head2
F/453 | '50mm thick sand blinding under slab on ground | #NAME? | m2
F/454 | TERM-01 - Kordon TMB termite and moisture barrier under slab on ground and sides of footing | #NAME? | m2